FINAL REPORT

Healthcare Waste Management Plan

FOR

THE CONSTRUCTION/RENOVATION OF YEROBAWOL HEALTH CENTRE, UPPER RIVER REGION

RESILIENCE BUILDING - VULNERABLE YOUTH AND WOMEN SUPPORT PROJECT (RB-VYWoSP)

Submitted to:

NATIONAL SOCIAL PROTECTION AGENCY

Office of the Vice President

November 2025

Contents

Executive Summary	4

Institutional Arrangements for Implementing the Action Plan	11

Monitoring Indicators	12

1.	Introduction	14

1.1 Background and justification for the study	14

1.2 Objective of the Healthcare Waste Management Plan	14

1.3.	Methodological approach to the assignment	15

2.	Description of the project	16

2.1.	Background and justification	16

2.2. Project Components	16

2.3. Project Objectives	18

2.4. The state of health services in The Gambia	19

2.5. Project Location	20

2.6. The Identified health facility for renovation under the project	20

2.7. Environmental and Social Impacts and Risks associated with the project activities	23

3.	Analysis of the policy, institutional, legal and regulatory framework	26

4. Current status of healthcare waste management	30

4.1. Status of healthcare waste management in the Gambia	30

4.2 Status of biomedical waste management at Yerobawol	36

4.3. Strengths-Weaknesses-Opportunities-Threats (SWOT) analysis of waste management activities at the Yerobawol health centre	37

5. Stakeholder consultation	38

5.1. Generation	38

5.2. Temporal storage	39

5.3. Collection	39

5.4. Transportation	39

5.5. Disposal	39

6. Main environmental and social risks and impacts of biomedical waste	41

6.1. Impacts of biomedical waste on health and the environment	41

6.2. Impacts of Healthcare Waste on Health and the Environment	42

6.3. Health Risks Associated with Poor Management of Healthcare Waste from Health Centre Activities	43

7. Measures to improve biomedical waste management	44

8. Healthcare Waste Management Plan	45

8.1. Identification of activities generating healthcare waste	45

8.2. General Healthcare Waste Management System	46

8.2.1. Healthcare Waste Generation	46

8.2.2. Waste Minimization	47

8.2.3. Healthcare Waste Segregation	47

8.2.4. On-site Handling, Collection	48

8.2.5. Healthcare Waste Collection	49

8.2.6. Color Coding and Labeling	49

8.2.7. Waste Handling Safety Measures	49

8.2.8. Medical Waste Storage and Packaging	50

8.2.9. Transport to External Facilities	51

8.2.10. Treatment and Final Disposal Methods	51

8.3. Resources Required to Implement the Hazardous and Healthcare Waste management Plan	58

9.	Monitoring the Healthcare Waste Management Plan	61

9.1.	Monitoring and Evaluation System	61

9.2.	Monitoring Arrangements	62

9.2.1.	Institutional Arrangements for Implementing the Action Plan	62

9.3.	Monitoring Indicators	63

10.	Mechanism for managing complaints and grievances	64

10.1.	Description of the Grievance Mechanism(GM) at Yerobawol Health Centre	64

10.2.	How the GM operates	66

11.	Conclusion	67

# Executive Summary

Background

The Government of The Gambia through the National Social Protection Agency (NSPA) has received support from the African Development Bank (AfDB) for the Resilience Building Vulnerable Youth and Women Support Project (RB-VYWoSP) to provide vulnerable groups, particularly out-of-school youth and women, with market-oriented skills and access to a range of services (financial and nonfinancial, basic social services) to tackle the multidimensional aspect of poverty and vulnerability. The additional financial support from the Bank is geared towards supporting the implementation of The Gambia National Health Strategic Plan (2021 – 2025). Part of the grant is allocated for the construction and renovation of the Foday Kunda Health Centre. The improvement of the healthcare services at Yerobawol Health Centre will trigger more healthcare waste generation, which needs to be properly managed. Thus, there is the need to develop a site specific HCWMP that is in line with the National Healthcare Waste Management Plan (2014).

Objective

The objective of the HWMP is to prevent, reduce and mitigate the environmental and health impacts on health care staff and the general public caused by poor health care waste management (HCWM), through the promotion of best practices and the development of safety standards.

Scope

This Healthcare Waste Management Plan (HCWMP) focused on the renovation/rehabilitation of the Yerobawol Health Center in the Upper River Region (URR). Yerobawol Health Care Centre is a minor health care located in the district of Wuli within the Local Government Area (LGA) of Basse.

Methodology

This plan was developed using a hybrid approach through stakeholder consultations, literature review and site inspections to ensure that the plan reflects the real situation on the ground and draw measures that will help in the proper management of healthcare waste.

Current status of HCWM in Yerobawol: Analyse SWOT

Yerobawol Health Center is one of the facilities hosting a regional containerized Inciner8 incinerator, which places it at the core of the regional HCWM infrastructure. This modern incinerator serves not only Yerobawol but also neighboring health facilities that lack on-site treatment capabilities.

Yerobawol HCWM system benefits from the presence of this facility, as it allows for the on-site treatment of sharps. The health center practices basic segregation of waste. Sharps are consistently stored in appropriate safety boxes, and there are designated bins for different waste types, although color-coding and labelling sometimes fall short of recommended standards.

Temporal storage facility for sharp is available at Yerobawol, however, storage for infectious waste remains a challenge. Infectious waste is often stored in uncovered bins and in open areas, which poses risks of environmental contamination and exposure to both staff and the surrounding community. Moreover, although Yerobawol handles treatment, weaknesses persist in record-keeping, waste weighing, and full compliance with standard operating procedures.

There is also a need for continuous capacity building. While the presence of the incinerator provides a technical solution, human resources and operational management still require strengthening to ensure the incinerator is used optimally and maintained properly.

A situational assessment revealed critical gaps in the existing HCWM system. These include poor segregation practices, limited infrastructure for temporary storage and treatment, unsafe manual handling, and a lack of trained personnel. Waste is largely disposed in communal bin, with no functioning incinerator or designated sanitary landfill, contravening national and international safety standards. Moreover, there is no structured monitoring system or institutional framework to ensure accountability and compliance.

Summary of stakeholder consultations

The host community, healthcare facility users and staff as well as the environmental unit of the Directorate of Public Health were consulted. Beneath is the summary of some of the concerns that were raised:

- Poor segregation practices – Though sharps are separated, other waste types are sometimes mixed or mislabeled.

- Limited knowledge of staff on proper waste management.

- No consistent weighing or monitoring system for waste generated.

- Incinerator operational strain – Being a regional incineration point, Yerobawol receives waste from multiple facilities, increasing pressure on the facility.

- Limited capacity skill on the operation of the incinerator.

Main environmental and social impacts and risks of the project

Environmental and Social Risks/Impacts Associated with the Generation and Mismanagement of Healthcare Waste.

| Impact Type | Specific Impact | Description/Implication |
| --- | --- | --- |
| Environmental | Air Pollution | Open burning releases toxic gases (dioxins, furans), contributing to air contamination. |
|  | Soil and Groundwater Contamination | Leachate from waste pits can pollute soil and water sources used for drinking and farming. |
|  | Plastic Accumulation | Non-biodegradable waste (e.g., gloves, syringes) remains in the environment long-term. |
|  | Wildlife and Livestock Exposure | Animals may scavenge waste, spreading pathogens or being harmed by ingestion of materials. |
| Social | Negative Community Perception | Visible or poorly managed waste can reduce public trust in the health center. |
|  | Health Worker Exposure | Inadequate PPE leads to risk of injury and infection among waste handlers and janitorial staff. |
|  | Child Safety Risk | Exposed waste areas are accessible to children, increasing injury and infection risks. |
|  | Disease Transmission through Vectors | Waste attracts flies, mosquitoes, and rodents, which spread diseases. |
|  | Waterborne Illness Risk | Contaminated waste runoff can pollute local water sources, causing diarrheal outbreaks. |
|  | Secondary Household Exposure | Contaminants may be transferred from workplace to home via clothes or equipment. |

Accordingly, it was required to prepare a safeguard instrument, that is a Health Care Waste Management Plan (HCWMP) to ensure due diligence with the Bank’s safeguards policies and national laws, to avoid causing harm, and to ensure consistent treatment of environmental impact. The policy and regulatory framework look at the Bank’s safeguard policies, National policies and regulations plus other international policies relevant to the context of the work being caried out.

Measures to improve biomedical waste management at Yerobawol Health Centre

This HCWMP proposes a comprehensive response aligned with WHO guidelines and The Gambia’s national waste management policy. Key interventions include the introduction of color-coded segregation systems, construction of a secure waste storage facility, acquisition of appropriate personal protective equipment (PPE), capacity building for staff, and proper maintenance of the incinerator. The plan also recommends establishing a multidisciplinary Healthcare Waste Management Committee at the facility level to oversee implementation and ensure continuous supervision and evaluation.

| Measure | Description |
| --- | --- |
| Staff Training and Capacity Building | Regularly train all health workers, cleaners, and waste handlers on waste segregation, safety, and disposal protocols. |
| Waste Segregation at Source | Ensure color-coded bins and containers are available and used appropriately at all service points. |
| Adequate Supply of Waste Containers | Provide enough bins, sharps boxes, and leak-proof containers to avoid mixing of waste types. |
| Establishment of Temporary Storage Areas | Set up designated, secure areas within the facility for temporary storage of healthcare waste before final disposal. |
| Procurement of Personal Protective Equipment (PPE) | Supply gloves, aprons, masks, and boots to all staff handling biomedical waste to reduce exposure risks. |
| Installation of Safe Treatment/Disposal Systems | Introduce autoclaves, incinerators, or other appropriate technologies for waste treatment. |
| Regular Waste Collection and Disposal | Maintain a routine schedule for the internal collection and external disposal of healthcare waste. |
| Monitoring and Supervision Mechanisms | Implement internal audits and supervision by designated officers to ensure compliance with waste protocols. |
| Public and Community Sensitization | Engage nearby communities on safe waste disposal practices and how to report illegal or harmful dumping. |
| Strengthening of Institutional Frameworks | Clarify roles and enhance coordination among waste management actors at the health center and district levels. |
| Record-Keeping and Reporting | Maintain logs on waste generation, treatment, and disposal to improve planning and regulatory compliance. |
| Budget Allocation and Resource Mobilization | Secure dedicated funding for healthcare waste management activities within the facility’s operational budget. |

Resources Needed to Support HealthCare Waste Management Plan

| Resource | Description | Responsibility/Role |
| --- | --- | --- |
| Human Resources |  |  |
| Waste Management Officer/Team | Dedicated staff responsible for overseeing all waste management activities. | Supervision of daily waste management activities, ensuring compliance with policies, and monitoring waste segregation, storage, and disposal. |
| Trained Healthcare Workers | Medical staff, nurses, and lab technicians must be trained on safe waste management practices. | Waste segregation, safe handling of healthcare waste and the proper use of PPE. |
| Cleaning and Waste Handling Staff | Staff are responsible for the physical collection, transport, and final disposal of waste. | Segregating waste, collecting, storing, transporting, and ensuring safe disposal practices are followed. |
| Waste Disposal Contractors | External service providers for waste treatment and disposal (e.g., incinerator services). | Safe disposal of hazardous and healthcare waste including incineration or burial. |
| Training Facilitators | Experts or institutions for training staff on waste management. | Conduct training sessions, prepare materials, and assess staff competency. |
| Financial Resources |  |  |
| Resource | Description | Responsibility/Role |
| Initial Setup Costs | One-time costs for infrastructure, equipment, and staff training. | Construction of storage areas, purchase of incinerators, safety equipment, and training costs. |
| Operational Costs | Recurring costs for waste collection, handling, transportation, and disposal. | Fuel for transportation, PPE, cleaning supplies, waste bags, and containers. |
| Maintenance Costs | Costs associated with the maintenance of waste disposal systems and equipment. | Regular maintenance of incinerators, storage areas, and transportation vehicles. |
| Emergency Fund | Allocated funds for unanticipated costs, such as urgent waste disposal or accidental spills. | A contingency fund to address unforeseen incidents related to waste management. |
| Support for Awareness Campaigns | Financial resources for public education and staff sensitization on waste management practices. | Printing of educational materials, organizing workshops, and media campaigns. |
| Infrastructural Requirements |  |  |
| Resource | Description | Responsibility/Role |
| Waste Segregation Bins | Color-coded bins for segregating biomedical, hazardous, and general waste. | Ensure that waste is separated correctly at the point of generation. |
| Sharps Containers | Puncture-proof containers for the disposal of sharps. | Safely collect and store needles, syringes, and other sharp objects. |
| Waste Storage Area | Secure and well-ventilated area for temporary storage of biomedical waste. | Prevent contamination, reduce exposure risks, and manage waste safely before disposal. |
| Incinerator/Autoclave | Equipment for the treatment of infectious and hazardous waste. | Reduce volume and toxicity of healthcare waste through safe incineration or autoclaving. |
| Transportation Vehicles | Trolleys, carts, and vehicles for transporting waste from collection points to storage areas or disposal sites. | Safely move waste without risk of spillage or contamination. |
| Personal Protective Equipment (PPE) | Gloves, masks, gowns, and boots for personnel involved in waste management. | Protect staff from exposure to hazardous and infectious materials. |

Healthcare Waste Management Plan (HCWMP): Action plan to implement the measures

This Healthcare Waste Management Plan (HCWMP) outlines a strategic approach to improving the safe handling, segregation, treatment, and disposal of healthcare waste at Yerobawol Health Centre. As a primary healthcare facility providing maternal, child, and outpatient services, generates a diverse range of waste, including infectious materials, sharps, pharmaceutical remnants, and general waste. The current waste management practices at the center are inadequate, posing significant risks to healthcare workers, patients, the community, and the environment.

A Action plan is developed including indicators to address potential negative impacts of the healthcare waste and to ensure that unforeseen impacts are detected and the mitigation measures implemented efficiently. The monitoring plan includes indicators for the storage, segregation, transportation and disposal of the medical waste. As outlined in the National Health Care Waste Management Plan provides for actors involved in the waste management sector to be involved in the monitoring process.

Monitoring is required to follow-up on decisions made to intervene in various activities of healthcare waste management in order to protect human health and the environment. This can be achieved through periodic monitoring and evaluation on a continuous basis through a variety of modalities.

| Measures/Activities | Indicators | Responsible for Implementation | Responsible for Monitoring | Source of Funding | Total Cost (USD) |
| --- | --- | --- | --- | --- | --- |
| Procurement and installation of color-coded waste bins and sharps boxes | Number of bins installed | Health Centre Admin | Regional Health Directorate (RHD) | MoH / Partners | 10,000 |
| Staff training on HCWM procedures, segregation, and PPE use | Number of staff trained | Facility Head / MoH | RHD / MoH | MoH / Partners | 4,000 |
| Procurement of PPE (gloves, masks, boots, aprons) | Quantity of PPE distributed | Health Centre Admin | RHD | MoH / Donors | 5,000 |
| Construction of a secured waste storage area | One storage area constructed | MoH Infrastructure Unit | RHD / NEA | Government / Partners | 10,000 |
| Establishment of internal waste collection schedule | Collection log maintained | Waste Focal Person | Health Centre Supervisor | Health Centre Budget | 0 |
| Agreement with regional authorities for off-site waste treatment and incineration | Signed MoU | Health Centre Admin | RHD | MoH | 0 |
| Monitoring and documentation of waste generated and disposed | Monthly reports submitted | Waste Management Focal Person | RHD / MoH | Health Centre Budget | 500 |
| Community sensitization on the risks of improper waste disposal | Number of community meetings held | Facility Public Health Officer | CHS / NEA | Local Government | 5,000 |
| Provision of spill kits and training on emergency response | Number of kits available and training held | Health Centre Admin | MoH / CHS | MoH / Partners | 2,500 |

Capacity building is a cornerstone of the strategy, with targeted training programs designed to equip staff with the skills and knowledge required for safe and effective HCWM. The monitoring and evaluation (M&E) framework is included, outlining performance indicators, compliance checklists, and mechanisms for periodic review.

Mechanism for managing complaints and grievances

An effective grievance mechanism (GM) is essential to ensure that concerns from health workers, patients, waste handlers, and the local community regarding healthcare waste management at Yerobawol Health Centre are properly addressed.

The project should establish GM committees at Community level and Project Level. The said committees should receive trainings on GM matters related to project including reporting, registering, and investigating grievance or disputes/complaints among others.  The following process should be followed in receiving and responding to grievances.

  - the grievance is received by Chairperson of the Committee and recorded in a grievance register by the Secretary.

  - the Chairperson summons a meeting within seven calendar days of receiving the grievance, inviting the representative of the Project in the Region

  - if the Committee agrees to an immediate action to satisfy the complainant, the latter shall be briefed by the Chairperson of the remedial action and how it will be implemented.

  - for a corrective action that requires a longer period, again the Chairperson will inform the complainant of the action and proposed timeline for correction.

  - in either ‘iii’ or ‘iv’ above, the Chairperson get written satisfaction from the Complainant on the action taken and formally close the case in the Register.

Grievance Mechanism (GM) Operation for Yerobawol Health Centre

| Headings | Unit | Quantity | Unit cost (USD) | Total cost (USD) |
| --- | --- | --- | --- | --- |
| Reproduction and distribution of forms | Lump sum | 1 | 500 | 500 |
| Organization of GRM awareness and public campaigns in project area | Session | 6 | 1,000 | 6,000 |
| Training of GRMC on the GRM specific to center construction/renovation. | Session | 1 | 1,500 | 1,500 |
| Support for the operating of complaints management committees | Lump sum | 1 | 5,000 | 5,000 |
| Total cost of the implementation of GRM |  |  |  | 13,000 |

### Institutional Arrangements for Implementing the Action Plan

The following table outlines the key institutional arrangements and roles required for the successful implementation of the action plan at the local level. It highlights the critical stakeholders, their respective responsibilities, and the mechanisms for coordination and support.

Institutional arrangement

| Actors | Roles and Responsibilities |
| --- | --- |
| Yerobawol Health Centre Management | Lead implementation of the HCWMP- Oversee daily waste management operations- Ensure availability of logistics and supplies- Appoint a waste management focal person |
| Waste Management Focal Person | Coordinate waste segregation, collection, storage, and documentation- Train staff on best practices- Maintain waste logs and ensure safety compliance |
| Regional Health Directorate (RHD) | Provide supervisory support- Monitor implementation progress- Liaise with MoH for technical support and resource mobilization |
| Ministry of Health (MoH) | Develop policies and provide national-level oversight- Mobilize funding and technical resources- Coordinate capacity building |
| National Environment Agency (NEA) | Ensure environmental compliance- Provide guidance on waste disposal standards- Participate in monitoring and evaluation |
| Community Health Services (CHS) | Support community education and awareness on health risks- Collaborate on behavior change communication activities |
| Local Government Authorities | Provide land or support for infrastructure development (e.g., waste pits)- Assist in community sensitization |
| Development Partners/Donors | Provide financial or material support- Support training and infrastructure through projects or grants |

## Monitoring Indicators

Considering the type of interventions implemented by this project that are anticipated to have limited, site-specific impacts, the following will be used to monitor progress in implementing the Healthcare waste management plan:

- Existence of human resource capacity in health care units and facilities with basic knowledge to deal with medical waste;

- Existence of records on waste generation; and

- Development of mechanisms for proper and safe healthcare waste management and disposal.

The monitoring of environmental effects is necessary to ensure that predicted impacts are addressed effectively and efficiently through the mitigating measures indicated. Specific monitoring indicators for consideration include the following, as presented in Table 10.3.

Monitoring Indicators

| Focus Area | Monitoring Indicator | Target (12 months) | Data Source | Frequency | Responsible Party |
| --- | --- | --- | --- | --- | --- |
| Internal Packaging and Storage | % of waste properly segregated and stored in color-coded bins | 90% | Segregation audit tool | Monthly | Public Health Officer |
| External Packaging and Storage | Existence of a secured well-ventilated storage area | Yes | Physical site inspection | Quarterly | Facility Manager / Maintenance |
|  | Number of days waste remains in temporary storage | ≤2 days | Storage log | Weekly | Waste Handler /HCWM Committee |
| Transportation | % of waste transported using designated trolley with PPE | 100% | Supervision report | Monthly | Safety Officer |
|  | # of staff trained on safe internal waste transport | All relevant staff | Training register | Quarterly | Training Officer |
| Treatment and Disposal | Functionality of on-site treatment system (e.g., incinerator) | Functional | Maintenance log | Monthly | Maintenance Technician |
|  | % of sharps properly disposed in sharp pits or containers | 100% | Waste audit | Quarterly | Public Health Officer |
| Administration | % of HCWM reports submitted on time to Regional Directorate | 100% | HCWM reporting forms | Quarterly | HCWM Committee Chair |
|  | Number of HCWM Committee meetings held per year | 4 (1/quarter) | Meeting minutes | Quarterly | HCWM Committee Secretary |
|  | Budget execution rate for HCWM activities | ≥90% | Budget and finance reports | Annually | Facility Finance Officer |

CONCLUSION

Yerobawol Health Centre having a robust healthcare waste management plan is crucial for public health and environmental protection, requiring comprehensive strategies, training, and ongoing monitoring. Recommendations include strengthening waste segregation, implementing safe treatment methods, and promoting awareness among healthcare workers and other stakeholders during the implementation of the project and beyond. The implementation budget for this plan is US$50,000 which comprised of US$37,000 for implementation, monitoring and evaluation whereas US$13,000 for the implementation of GM.

# 1.	Introduction

## 1.1 Background and justification for the study

Healthcare waste (HCW) is defined as the total waste stream from a healthcare facility (HCF) that includes sharps, non-sharps, blood, body parts, chemicals, pharmaceuticals, medical devices and radioactive materials. Most of it (75-90%) is similar to domestic waste. This fraction referred to as healthcare general waste (HCGW) is made of paper, plastic packaging, food preparation, etc. that haven't been in contact with patients.

A smaller proportion (10-25%) is infectious/hazardous waste that requires special treatment. This fraction referred to as healthcare risk waste (HCRW) is the one which is of concern at Health Care Facilities (HCF) due to the risks that it poses both to human health and the environment. Poor management of this HCRW exposes healthcare workers, waste handlers and the community to infections, toxic effects and injuries. Exposure to HCRW can result in diseases or injury.

Furthermore, if these two basic categories of waste aren't segregated (separated) properly, the entire volume of HCW must be considered as being infectious according to the precautionary principle, hence the importance of setting up a safe and integrated waste management system.

Healthcare waste management is critical to ensuring a safe environment for patients, healthcare workers, and the community. This plan provides a structured approach to handling healthcare waste at Yerobawol Minor Health Center, adhering to national and international guidelines.

## 1.2 Objective of the Healthcare Waste Management Plan

The goal of the HWMP is to prevent, reduce and mitigate the environmental and health impacts on health care staff and the general public caused by poor health care waste management (HCWM), through the promotion of best practices and the development of safety standards. The specific objectives of the HWMP are as follows:

- Ensure proper segregation, collection, storage, and disposal of healthcare waste.

- Minimize health risks associated with improper waste handling.

- Comply with The Gambia’s environmental and healthcare regulations.

- Promote sustainable waste management practices.

The plan provides guidelines on healthcare waste reduction, segregation, collection and disposal practices by the National Healthcare Waste Management Plan and Policy and Healthcare Waste Management – Standard Operating Procedures (HCWM SOP), to avoid deterioration of the natural environment and negative impacts on the health and safety of all within the health facility and its influence area. The Project is committed to applying the waste hierarchy and will seek to be a zero-waste discharge facility. This plan is the primary tool to guide Yerobawol Health Center towards sustainable healthcare waste management.

## 1.3.	Methodological approach to the assignment

Developing a healthcare waste management plan involves a number of steps to collect and analyze data on healthcare waste management. The following process was therefore pursued to collect data:

- STEP ONE: Collection of qualitative data

To inform on what information already exists whether in written form or through institutional memory from individuals with experience in dealing with issues relating to healthcare waste management in Yerobawol Health Center, the following two data collection tools were used:

Literature review was conducted through an analysis of policies, legal instruments and institutional frameworks by consulting policy and legal documents relevant to healthcare waste management to assess their adequacy for sustainable waste management

Key Persons Interviews were conducted with key individuals at Yerobawol Health Center and the regional health directorate at URR to gauge their experiences and perceptions on healthcare waste management.

- STEP TWO: Knowing what you are dealing with

Understanding the healthcare waste stream, the source, the quantity and nature of the material generated is essential to sound healthcare waste management.

Quantitative data on healthcare waste for Yerobawol Health Center was obtained from a number of recently conducted comprehensive waste analysis reports. These sources provide vital data on the source, actual quantity, composition and environmental impact of healthcare waste generated and disposed.

- STEP THREE: Developing the Plan

With the appropriate data and information obtained, the Plan was developed in accordance with the National Healthcare Waste Management Plan.

# 2.	Description of the project

## 2.1.	Background and justification

The Government of The Gambia through the National Social Protection Agency (NSPA) has received support from the African Development Bank (AfDB) for the Vulnerable Youth and Women Support Project (VYWoSP) to provide vulnerable groups, particularly out-of-school youth and women, with market-oriented skills and access to a range of services (financial and nonfinancial, basic social services) to tackle the multidimensional aspect of poverty and vulnerability. The main thrust of the project is that if poor and vulnerable women and youth in rural areas have the required skills in the agricultural value chain and access to quality basic social services, then there will be an increase in their productivity, and household income, and access to quality healthcare and education, thus reducing poverty and improve inclusive growth. Transformative social and behavioral change communication will intervene to sustainably strengthen achievements and bring change in populations’ perception of gender equity, women’s economic empowerment, use of basic social services, etc.

The additional financial support from the Bank is geared towards supporting the implementation of The Gambia National Health Strategic Plan (2021 – 2025). Part of the grant is allocated for the construction and renovation of the Yerobawol Health Centre. The improvement of the healthcare services at Yerobawol Health Centre will trigger more healthcare waste generation, which needs to be properly managed. Thus, there is the need to develop a site specific HCWMP that is in line with the National Healthcare Waste Management Plan (2014).

## 2.2. Project Components

- Component 1: Support to equitable and inclusive access to jobs and livelihood opportunities for youth and women (UA 4.28 million). This component will build on the existing project that is focused on providing non-financial support to youth and women-owned enterprises. In addition to existing activities (functional literacy and entrepreneurship training, provision of equipment and non-financial services), it will promote access to finance for the creation of decent jobs and enhance nutrition skills on selected agricultural value chains. It has two sub-components.

- Sub-component 1.1 – Support for job creation will focus on providing credit access to women and youth-owned enterprises, alongside capacity building in entrepreneurship and financial skills for credit recipients. Beneficiaries will also receive training and equipment for Agro-processing. A feasibility study will be done at the beginning of the project implementation to identify the financial intermediary, the criteria for accessing the financing facility, and the credits modalities. Additionally, the component will support the Ministry of Higher Education, Research, Science, and Technology (MoHERST) in creating regional national innovation and entrepreneurship hubs to foster entrepreneurship, innovation, and business development across regions. Capacity building will also be provided for the Ministry of Youth and Sport (MoYS), the Ministry of Gender, Children, and Social Welfare (MoGCSW), and MoHERST to strengthen their support for these initiatives.

- Sub-component 1.2 – Provision of nutrition related skills development within selected agricultural value chains for women and youth. The component will include training programs on nutrition-sensitive agriculture practices while supporting improved storage and other postharvest loss technologies that retain nutrient content.

- Component 2: Support for health systems strengthening (UA 8.72 million). This component will increase the impact of the existing project that is focused on financing the renovation and equipping of two healthcare centers. RB-VYWOSP will support the renovation and equipping of four additional health facilities to improve equitable access to health services including response to GBV and FGM/C. In addition, it is expected to improve the capacity of the health system to detect and therefore respond to disease outbreaks by strengthening the surveillance system. It has three sub-components.

- Sub-component 2.1: Renovation and equipment of four additional health facilities to provide high quality health services including for sexual and reproduction health. This will contribute to improvements in the capacity of the health system to respond to GBV and reduce out of pocket expenditure on health.

- Sub-component 2.2: Capacity building and technical assistance to the Ministry of Health by the World Health Organization (WHO) to strengthen the health system to deliver improved health outcomes. This includes support to develop a national health investment plan that identifies and prioritizes investable opportunities in the health sector for both government and its partners. In addition, the funding will support the appraisal and preparation of well-structured bankable projects to be financed by partners including the African Development Bank, Islamic Development Bank, the European Investment Bank and other partners, mobilizing additional resources for the health sector The World Health Organization will build the capacity of the Ministry of Health to improve the quality of their health infrastructure to WHO global standards, promote policy reforms that strengthen pandemic preparedness and promote private health entrepreneurship to create jobs and support skills development in the health sector.

- Component 3: Support for enhanced nutrition-smart surveillance and treatment systems (UA 1 million). The component will enhance the nutrition surveillance system to function as an early warning tool, improving the ability to promptly monitor and address nutritional deficiencies. This will ensure timely interventions to prevent malnutrition from worsening. Additionally, for severe cases of malnutrition, nutrition treatment centers in the health facilities will be upgraded and rehabilitated into better-equipped facilities. These improvements will lead to more effective management and recovery of malnourished individuals, thereby reducing morbidity and mortality rates associated with malnutrition.

- Subcomponent 3.1: Strengthening nutrition surveillance as an early warning system through digitization and integration with health, agricultural and social services for a comprehensive view on nutritional status in the areas leading to better monitoring, timely interventions and ultimately improved nutritional outcomes. This will include capacity building to ensure the quality and accuracy of data collected.

- Subcomponent 3.2: Renovation and upgrading of nutrition treatment centers will focus on enhancing infrastructure and service delivery capacities. This will include the expansion of facilities, provision of supplies, capacity building for health workers on the latest malnutrition treatment protocols, and improved service integration and referral systems.

- Component 4: Project management (UA 1 million). This component will support activities that aim to enhance effective and efficient management of project activities such as coordination and capacity building on financial management and procurement. At the environmental level, risks will be related to Component 2 and Activity 2.1, in particular the component concerning the Renovation of four additional Healthcare facilities to provide high quality health services including for sexual and reproduction health.

## 2.3. Project Objectives

The Project Development Objective (PDO) is to improve the incomes and productivity of the most vulnerable youth and women in rural areas and to improve their access and use of basic social services, including health, nutrition, and education services.

Overall, the project will:

- Create jobs and livelihood opportunities for vulnerable women and out-of-school youth in rural areas, increase their productivity and hence their incomes through skills development, entrepreneurship, supply of productive equipment and non-financial support (counseling, coaching); and

- Improve their use and access to better and inclusive basic social services (health and nutrition, education). The project will adopt a holistic approach to tackling the multidimensional aspects of vulnerability and poverty. The project will also contribute to reducing gender inequalities by providing better economic and social prospects for young girls and women and reducing social expectations of male youth.

## 2.4. The state of health services in The Gambia

The Gambia has a three-tier system for the delivery of public health services (see Figure 2.1). Despite the high priority given to basic health care services in the national strategies, budgetary allocations are skewed towards tertiary health care provision and core activities through the central level.  Only 20% is allocated to basic health services (Public Expenditure Review 2020).

Figure 2.1 Health care system in The Gambia

At the central level, the Ministry of Health (MoH) is responsible for setting health policies, regulations, research and mobilizing resources. The regional level comprises of seven Regional Health Directorates (RHDs) that are responsible for implementing the policies and programs of the MoH and act as Regional Health Directorates. The RHDs oversee the provision of health care delivery and provide stewardship for primary and secondary levels of care in the peripheral health facilities within their regions. However, inadequate decentralization at the regional level currently hinders the regional health directorates’ ability to fulfil this coordination role.

At the primary level, health care is delivered through the village health services by village health workers who provide promotive and preventive health care. As part of efforts to revitalize and implement the concept of Primary Health Care in the country, the PHC unit under the ministry witnessed a significant increase of PHC key villages from 722 to 942.  In addition, the ministry has provided 80 community ambulances serving cluster of villages located at hard-to-react areas to facilitate patient early referral from communities to referral centers. However, despite the above-mentioned milestones, PHC coverage in rural areas is still low, with an average coverage of 40% nationally.

Secondary care is provided through major health centers, which deliver up to 70 percent of the Essential health care package, including emergency obstetric and neonatal care. Yerobawol health Center is one of the minor health centers, under the secondary healthcare level.

## 2.5. Project Location

This Healthcare Waste Management Plan (HCWMP) focused on the renovation/rehabilitation of the Yerobawol Health Center in the Upper River Region (URR). Yerobawol Health Care Centre is a minor health care located in the district of Wuli within the Local Government Area (LGA) of Basse (see Figure 2.2).

Figure 2.2.  Location of Yerobawol Minor Health Center

## 2.6. The Identified health facility for renovation under the project

The National Social Protection Secretariat (NSPS) in consultation with the Ministry of Health selected Yerobawol Health Facility to be renovated under the Vulnerable Women and Youth Project. Table 2.1 shows the number of health workers per cadre.

Table 2.1. Number of health workers per cadre at Yerobawol health Center

| Public Health Officers | Nurses And Midwives | Lab Assistants | Pharmacy Assistants | Supports Staffs | Security Officers |
| --- | --- | --- | --- | --- | --- |
| 4 | 7 | 1 | 1 | 9 | 2 |

This health Installation comprises of Twelve (12) different components namely: Staff quarters (7 quarters), Public toilets (2 blocks), Laboratory, Health Care & Drug Store block, Art room, Youths Friendly Center, Waiting Shed, Public Laundry, Security Post, Generator Room, Mortuary, Mosque, and the Main Building (Maternity ward, Male & Female Ward, Labour Ward, Public Health Office and Outpatient department). However, some parts of the facility infrastructure are falling apart due to lack of maintenance. There are structures also built purely for solid waste management with the facility.

Figure 2.3: Google Map of Yerobawol Health Care Facility

The facility is old as it was constructed decades ago. Some of the current structures within the facility are not in good shape, and it is risky to work in such environments. The plumbing system and wiring are poor, which is increasing the vulnerability of the staff and patients within the facility to disasters that may result in loss of lives. The nature of the facility right now does not motivate workers, which is why the facility has insufficient human resources, such as medical workers.

A joint team from the Ministry of Transport Works and Infrastructure, Ministry of Health and National Social Protection Agency (NSPA), conducted a detailed assessment in December 2024 and January 2025. This assessment study listed down the existing conditions of the various structure and recommended the possible renovation activities to be done, Table 2.2 presents the various structures at the facility and the current conditions of these structures as well as the recommended works to be done.

Table 2.2: Existing structures, their current conditions and the recommended works to be done

| Structure | Existing Conditions | Recommended works |
| --- | --- | --- |
| - Staff quarters (7 quarters) - Public toilets (2 blocks) - Laboratory - Health Care & Drug Store block - Art room - Youths Friendly Center - Waiting Shed - Public Laundry - Security Post - Generator Room - Mortuary - Mosque - Main Building - Maternity ward - Male & Female Ward - Labour Ward - Public Health Office - Outpatient department) | - Minor leakages are common as spotted on the ceiling and major leakage on the buildings of the blocks which requires that roofing sheet to be replaced and roof structures - Major electrical fault on the cables as well as appliances - Minor hairline and major cracks on walls - Changing of plumbing fittings in wards and toilets - Painting of the facility - Leakage marks on ceiling - Replacement/changing of doors and windows - Broken floor tiles | - Removed and replaced with new roofing sheets and roofing structures - Repaired and replaced all electrical faults on the cables as well as appliances - Repaired all hairline and major cracks on walls - Repaired and replace with new plumbing fittings in wards and toilets - Repaint the whole facility - Remove and replaced with new ceiling - Remove and replaced with new doors and windows - Provide new floor tiles where needed - Expand the labour ward by creating delivery room for each patient with complete privacy. - Renovate the maternity, male and female ward to accommodates more patients. - Expand the waiting shed to accommodate immunization and weekly child health. - Renovate the existing staff quarters blocks and construct new indoor toilets. Provide fencing on some of quarters. - Demolished the partition wall in the youth friendly center. This will create more space. - Expand the security post by providing indoor toilet and shower. - Upgrade the mortuary block to fit for purpose. - Demolished and construct a new mosque - Remove and replace a new main gate. - Provides additional power supply using solar panels. - Provides additional water and solar streetlights. - Renovate the existing public health and laboratory block. |

## 2.7. Environmental and Social Impacts and Risks associated with the project activities

The project activities were divided into three different phases (pre-renovation and renovation; operational and decommissioning). The potential impacts and risk levels linked to each phase of the project activities are presented in Table 2.2.

Table 2.2: Environmental and Social Impacts and Risks associated with the project activities

| Phase/Activities | IMPACTS | Risk Level |
| --- | --- | --- |
| Pre-renovation and renovation phase |  |  |
| Recruitment of workers for the pre-renovation and renovation works | Create employment opportunities | Medium |
| - Excavation and digging activities, - Site clearing and removal of vegetation, - Movement of machinery and vehicles, - Transportation of construction raw materials (I.e. sand, gravel etc) | Air pollution (dust and gaseous emissions) | Medium |
| - Civil works - Recruitment and presence of workers - Construction waste generation - Consumption of resources (water, energy etc) - Repair of equipment and machinery | Water Pollution | Medium |
| Waste generated from workers campsite, presence of workers on sites, disposal of waste on site, construction waste, domestic waste, biomedical or healthcare waste | Waste Generation | Medium |
| Activities that impact air and water quality; presence of asbestos | Public Health | Medium |
| - All civil works, - Material transportation and handling, - working conditions, - workers’ behaviour | Occupational Health and Safety | Medium |
| Recruitment, - All works onsite - Presence of workers | In-migration of workforce | Medium |
| Presence of workers | Gender-based violence (GBV), Sexual exploitation and abuse (SEA), Violence against Children (VAC) | Medium |
| Operational Phase |  |  |
| Health care Facility Operation | Improper Healthcare waste management | Medium |
|  | Risk of fire outbreak | Medium |
|  | Occupational Safety and Health Risks for Healthcare Workers | Medium |
|  | Environment pollution due to solid waste generation | Low – Medium |
|  | Improper waste disposal | Medium |
|  | Increased energy use | Medium |
|  | GBV/SEA/SH | Medium |
|  | Security and conflict | Low |
| Decommissioning Phase |  |  |
| Demolition Wastes | Soil pollution/air pollution/water ressources pollution | Medium |
|  | OHS/ Public Safety | Medium |
|  | Grievances arising from project decommission | Medium |

# 3.	Analysis of the policy, institutional, legal and regulatory framework

This section analysis the relevant legal and regulatory framework related to the development and implementation of HCWMP to ensure that all the plan is not contradicting other national policies, acts and regulations.

3.1. Relevant National Policies, Acts and Regulations

Table 3.1: Relevant Policy Regulations in The Gambia on Waste Management

| Policy/Regulation | Responsible Entity | Relevance to HCWM | Remarks |
| --- | --- | --- | --- |
| National Health Policy (2021–2030) | Ministry of Health | Promotes sustainable healthcare delivery, with emphasis on environmental health and infection control, including HCWM. | Recognizes waste management as integral to quality care and universal health coverage. |
| National Environment Management Act (NEMA), 1994 | National Environment Agency (NEA) | Provides overarching legal framework for environmental protection, including management of hazardous waste. | Mandates environmental impact assessments (EIA) for health facilities generating hazardous waste. |
| Public Health Act, 1990 (Cap 40:02) | Ministry of Health | Provides authority for public health interventions including sanitation, hygiene, and infectious disease control. | Enforces safe waste disposal to prevent disease outbreaks. |
| National Infection Prevention and Control (IPC) Policy and Guidelines | Ministry of Health | Directs health facilities to implement IPC protocols, which include proper HCWM practices. | Frequently referenced for health worker training and compliance. |
| Occupational Safety and Health Policy | Ministry of Trade, Industry, Regional Integration & Employment | Promotes the protection of healthcare workers from risks, including those related to waste handling. | Supports the need for PPE and training in HCWM. |
| National Climate Change Policy (2016–2025) | Ministry of Environment, Climate Change and Natural Resources (MECCNAR) | Encourages climate-smart waste disposal practices to reduce greenhouse gas emissions and protect ecosystems. | Advocates for sustainable technologies for waste treatment. |

3.2. Review of the National Healthcare Waste Management Policy and Guidelines

Table 3.2: Waste Management Guidelines

| Document | Year | Key Provisions | Gaps/Challenges Identified |
| --- | --- | --- | --- |
| National Healthcare Waste Management Policy | 2015 | Outlines principles for segregation, labeling, transportation, treatment and final disposal of healthcare waste. Advocates for a national HCWM strategy. | Limited implementation; requires update and formal adoption. Some facilities still lack basic segregation practices. |
| National Guidelines for Healthcare Waste Management | 2014 | Provides standard operating procedures for health workers, including color-coding, use of sharps containers, and autoclave use. | Guidelines are underutilized; enforcement is weak and varies by region. Inconsistent application across health facilities. |
| National Infection Prevention and Control Guidelines | 2020 | Integrated HCWM protocols within broader IPC practices. Includes handling of sharps, waste bin specifications, and disposal procedures. | Requires continuous capacity-building and supply of materials (e.g., color-coded bins, PPE). |
| National Health Care Waste Management Standard Operating Procedures (SOPs) | 2023 | SOP cover internal waste flows, designated holding areas, and contractor handover. | standardized nationally; rural facilities cannot fully implement |

3.3. African Development Bank's Integrated Safeguard System (ISS) Institutional Framework

In line with the AfDB’s Integrated Safeguards System (ISS -2023) and based on the fact that the proposed project will not trigger involuntary resettlement, only OS1, OS3, OS4, OS5 and OS10 out of the five Operational Safeguards (OS) embedded in the ISS are considered and triggered. These are indicated in Table 3.3 below.

Table 3.3: AfDB Safeguards Instruments Triggered by the Project

| AfDB Safeguards Instruments | Triggered by the Project | Description |
| --- | --- | --- |
| Integrated Safeguards System (ISS 2023) | Yes | Overarching operational safeguard mainstreams environmental, social, and sustainability considerations in all Bank operations. |
| OS1: Environmental and Social Assessment | Yes | Required for Category 1 and Category 2 projects to assess environmental, social, gender, and climate change impacts |
| OS2: Labor, Working Conditions, and Occupational Health and Safety | Yes | Reflects protection of workers' rights, health, safety, and promotion of decent work conditions. |
| OS3: Resource Efficiency, Pollution Prevention, and Climate Change | Yes | Promotes resource efficiency, reduction of greenhouse gas emissions, and management of pollution and hazardous materials. |
| OS4: Community Health, Safety, and Security | Yes | Addresses potential risks to communities' health and safety arising from project activities and infrastructure. |
| OS5: Biodiversity, Ecosystem Services, and Sustainable Natural Resource Management | Yes | Ensures conservation of biodiversity, maintenance of ecosystem services, and sustainable use of natural resources. |
| OS10: Stakeholder Engagement and Information Disclosure | Yes | Reflects the need for inclusive stakeholder consultation, grievance mechanisms, and public access to project information. |

# 4. Current status of healthcare waste management

## 4.1. Status of healthcare waste management in the Gambia

Healthcare Waste Management (HCWM) in The Gambia has seen commendable progress in recent years, mainly driven by support from development partners such as the World Bank. The Ministry of Health has developed and begun implementing a comprehensive National Healthcare Waste Management Plan (HCWMP) that has significantly transformed waste management practices across the country.

A key aspect of this improvement has been the procurement and installation of both regional and facility-based waste treatment infrastructure. Specifically, Seven Regional Containerized Inciner8 Incinerators have been installed across all the 7 health regions to handle healthcare waste from various facilities within their regions. Additionally, forty more Inciner8 Incinerators have been installed in 40 health facilities across the country to expand treatment capacity. As a result, over 10,476 sharps boxes have been safely incinerated, and more than 15,000 kg (15 tons) of infectious waste have been treated using two Ecosteryl machines, one located at the Clinical Waste Treatment Center in Farato (Ecosteryl 250 Series) and the other at the Edward Francis Small Teaching Hospital (Ecosteryl 75 Plus Series).

Moreover, the Ministry has trained over 210 healthcare workers on proper HCWM practices. These efforts reflect a strong national commitment to safe, efficient, and environmentally sustainable waste management.

Healthcare facilities generate both general waste (non-hazardous) and healthcare waste (hazardous). The composition varies by facility type, size, and services provided.

Table 4.1: Waste Composition

| Type of Waste | Estimated Proportion | Examples |
| --- | --- | --- |
| General Waste (non-hazardous) | 75–80% | Food remnants, paper, packaging materials, sweepings |
| Infectious Waste | 10–15% | Blood-soiled materials, laboratory cultures, waste from isolation wards |
| Sharps | 1–5% | Needles, scalpels, blades |
| Pharmaceutical Waste | 1–3% | Expired drugs, contaminated vials |
| Chemical Waste | 1–2% | Disinfectants, solvents, laboratory reagents |
| Pathological Waste | <1% | Human tissues, organs, and body parts |
| Radioactive Waste | Negligible | Used in diagnostic imaging (mainly in tertiary hospitals) |

Table 4.2: Waste categorization

| Category | Description |
| --- | --- |
| Infectious waste | Infectious wastes are susceptible to containing pathogens (or their toxins) in sufficient concentration to cause diseases to a potential host. Examples include discarded materials or equipment, used for the diagnosis, treatment and prevention of disease that has been in contact with body fluids (dressings, swabs, nappies, blood bags etc.). It also includes liquid waste such as faeces, urine, blood or other body secretions. |
| Pathological anatomical waste | Pathological waste consists of organs, tissues, body parts or fluids such as blood. Anatomical waste consists in recognizable human body parts, whether they may be infected or not. |
| Hazardous pharmaceutical waste | Pharmaceutical waste includes expired, unused and contaminated pharmaceutical products, drugs and vaccines. This category also includes discarded items used in the handling of pharmaceuticals like bottles, vials and connecting tubing. |
| Hazardous chemical waste | Chemical waste consists of discarded chemicals (solid, liquid or gaseous) that are generated during disinfecting procedures. They may be hazardous (toxic, corrosive, flammable or reactive) and must be used and disposed of according to the specification formulated on each container |
| Waste with a high content of heavy metals | Waste with high contents of heavy metals and derivatives are highly toxic (e.g. cadmium or mercury from thermometers or manometers). |
| Pressurized containers | Pressurized containers consist of full or emptied containers or aerosol cans with pressurized liquids, gas or powdered materials |
| Sharps | Sharps are items that can cause cuts or puncture wounds (e.g. needle stick injuries). They are highly dangerous and potentially infectious waste. They must be segregated, packed and handled specifically within the HCF to ensure the safety of the medical and ancillary staff |
| Highly infectious waste | This includes microbial cultures and stocks of highly infectious agents from medical laboratories. They also include body fluids of patients with highly infectious diseases. |
| Genotoxic/cytotoxic waste | Genotoxic waste includes all the drugs and equipment used for mixing and administration of cytotoxic drugs. Cytotoxic drugs or genotoxic drugs are drugs that can reduce the growth of certain living cells and are used in chemotherapy for cancer. |
| Radioactive waste | Radioactive waste includes liquids, gas and solids contaminated with radio nuclides whose ionizing radiation has genotoxic effects. These include x- and g-rays as well as a- and b- particles. |

In the second quarter of 2024, a total of 65 health facilities were visited by the Directorate of Public Health staff in the seven health regions which include URR, CRR, LRR, NBE, NBW, WR1, and WR2. The findings of the HCWMP monitoring are provided in Table 4.3 against the indicators set in the National HCWMP (2014).

Table 4.3: Findings of the HCWMP monitoring for 2024 quarter 2

| Indicator | Current HCWM Status | Recommendation |
| --- | --- | --- |
| Presence of a Health Care Waste Management Plan | The majority of the health facilities have health care waste management plan. | The RHDs should ensure that all health facilities have a comprehensive Health Care Waste Management Plan. |
| Appropriate purchasing system | Most of the health facilities have an appropriate purchasing system for waste minimization. | The Regional Health Directorate should support health facilities without appropriate purchasing system to establish one. |
| Stock control system in place | All of the health facilities have a stock control system in place for vaccines and drugs. However, stock management for healthcare waste management materials is practiced by only a few health facilities using a quire book to record inventories | The RHD should strengthen monitoring and supervision of health facilities regarding proper filling of the Stock Control forms and vaccine ledgers as well as encourage them to take inventory of health care waste management materials. |
| Waste Recovery System (recycling cardboard) | Waste recycling is not practiced by any of the health facilities in the country. | Recycling health care waste should be encouraged. |
| Use of reusable products | All the health facilities are doing some form of re-use of materials such as containers, cartons, and sterilizable equipment. | The Ministry of Health (MoH) should provide more sterilizing equipment (e.g. autoclave) and ensure their proper maintenance. Facilities should ensure that certain equipment are sterilized before they are being reused. |
| Standard of Hygiene | The standard of hygiene was satisfactory in most of the facilities. This includes the presence of wash hand stations, detergent, running water, and general cleanliness of the environment. | The MoH should provide more sanitary materials. The RHDs should strengthen supervision. |
| HCWM awareness of staff | Majority of the staff interviewed demonstrated a clear understanding of healthcare waste management SOPs at the time of the assessment. However, there is a significant number of health facility staff that have low knowledge of HCWM. | The MoH should conduct more training for healthcare workers on healthcare waste management. Step- down training should be encouraged by all health facilities. |
| HCWM awareness of patients | Some of the patients are aware of the dangers associated with healthcare waste. | The staff of the facilities should continue sensitizing patients and escorts on the HCWM, especially during OPD consultation and RCH sessions. |
| Recording of the amount of waste generated | A good number of health facilities supplied with weighing scales are weighing and recording the amount of waste generated. Those not supplied are neither weighing nor recording the amount of waste generated. | The RHDs should ensure that all the health facilities supplied with weighing scales weigh and record the waste generated. Ministry should provide weighing scales to facilities that are without. |
| Dedicated financial resources for HCWM | The majority of the health facilities have no dedicated financial resources for healthcare waste management in their business plan. Most HFs were dependent on the RBF project which has faced out | The MOH should expedite the disbursement of funds from National Health Insurance Scheme (NHIS) and scale up the implementation of the scheme to other health facilities. |
| Delegated and functioning HCWM responsibilities | In most health facilities visited, HCWM responsibilities have been delegated to the Infection, Prevention and Control committees. | The Environmental Health Unit and RHDs should make sure all health facilities have HCWM committee. |
| Training and awareness creation activities | Some of the health facilities conducted orientations and meetings on waste management. | The RHDs should continue to encourage all health facilities to conduct awareness creation activities on HCWM and provide on the job training during supervision. |
| Do waste handlers have PPE? | The majority of the health facilities have adequate PPEs. However, wearing PPEs by waste handlers during work was inadequate. | The RHDs should ensure that health facility staff wear adequate PPEs when handling healthcare waste. |
| Is waste being segregated | Segregation of waste remains a challenge even in facilities with the required amount of waste bins and color-coded bags. | The RHDs and facility management should ensure that waste segregation is fully practiced by health facilities. |
| Are bins/bin liners color- coded/labeled properly | Only a few facilities are currently using all the 3 colored bags (black, red, and yellow). Some health facilities do label waste bins with different colors when they don’t have the right bags. | Health facilities should dedicate financial resources to the procurement of color-coded bags. |
| Are there Sufficient and appropriate collection containers | Most health facilities have sufficient amount of waste bins. | Health facilities should dedicate financial resources to the procurement of appropriate waste collection containers. Also, this should be indicated in their business plan/waste management plan. |
| Is the frequency of waste removal as per the plan | All health facilities with healthcare waste management plans were removing waste as per the HCWM plan. Few facilities do not follow any plan, and waste is removed whenever the bins are full or a waste handler felt is necessary. | The RHDs to ensure that all health facilities adhere to the waste removal frequency as indicated in the HCWM plan. |
| Environmentally friendly handling of waste | Although most of the health facilities have a clean environment, open burning is practiced, especially in health facilities in the provinces. | The Environmental Health Unit and RHDs should discuss the issue with Area Councils and Municipal Councils to improve the collection service. |
| Cleanliness and functioning of transport equipment | The wheelbarrow is largely used for on-site transportation of HCW in all the facilities visited. Some facilities also used wheelie bins to transport waste on-site. Most of the transport equipment were found clean and functional. | Health facility management should ensure transport equipment are functional at all times and regularly cleaned after operation The HCWM SOPs should be used to guide operations during transportation and disposal. |
| Use of recommended transport procedures | Most of the facilities are adhering to the recommended transportation procedures. However, some are doing the contrary. | The Environmental Health Unit and RHDs should encourage health facility staff to include recommended procedures in their HCWMP. |
| Status of storage facilities and cleanliness | There is a temporal storage facility in a few facilities for example: Bundung Hospital, Banjulinding, and Kuntaur. However, these storage facilities do not meet the required standards of a temporal storage facility. | The MoH should build a standard temporal storage room for healthcare waste in all health facilities. |
| Separate storage of hazardous items | There is no separate storage for hazardous items in any of the facilities visited. | Hazardous waste should be stored separately. |
| Emergency equipment | Some of the health facilities have fire extinguishers. | The MoH should ensure that all health facilities have fire extinguishers. |
| Lock and safety measures at the storage site including signage | Only Kuntaur Health Center and Bundung Hospital have a lock for their waste storage facility but no signage. | All facilities should be encouraged to have temporal storage with lock and visible signage to avoid unauthorized access. |
| Is there responsible staff | Bundung Hospital, Banjulinding HC, and Kuntaur HC are the only facilities with temporary storage and staff responsible for it. | Health facilities should indicate the names of responsible persons for temporary storage in their HCWM plan. |
| Is transport safe and secure (covered) | Transportation of healthcare waste is largely safe and secure. However, in some instances, open tractors are used. | The EHU and RHDs should ensure that all health facilities practice safe and secure transportation of healthcare waste as indicated in the SOP. |
| Is appropriate paperwork used during transportation (consignment note/delivery notes | Some facilities improvised a quire book for waste collection documentation. | The EHU should provide log sheets to all health facilities to facilitate paperwork during waste transportation. |
| Is treatment facility on-site or off-site | Most of the health facilities have an on- site waste treatment facility (incinerator), whilst some are using off-site facilities (Farato waste treatment center). | The MoH should ensure the proper functioning of the existing incinerators and waste treatment machine. |
| No used sharps outside or protruding from sharps containers | In some of the health facilities, sharps were found visible and protruding from the sharps box. | The RHDs should strengthen supervision and advice on the proper disposal of sharps. |
| No litter in facility or on- premises | There is some degree of littering in some of the facilities visited. | The facility management should ensure that health facility premises are clean at all times. |

## 4.2 Status of biomedical waste management at Yerobawol

Yerobawol Health Center is one of the facilities hosting a regional containerized Inciner8 incinerator, which places it at the core of the regional HCWM infrastructure. This modern incinerator serves not only Yerobawol but also neighboring health facilities that lack on-site treatment capabilities.

Yerobawol HCWM system benefits from the presence of this facility, as it allows for the on-site treatment of sharps. The health center practices basic segregation of waste. Sharps are consistently stored in appropriate safety boxes, and there are designated bins for different waste types, although color-coding and labelling sometimes fall short of recommended standards.

Temporal storage facility for sharp is available at Yerobawol, however, storage for infectious waste remains a challenge. Infectious waste is often stored in uncovered bins and in open areas, which poses risks of environmental contamination and exposure to both staff and the surrounding community. Moreover, although Yerobawol handles treatment, weaknesses persist in record-keeping, waste weighing, and full compliance with standard operating procedures.

There is also a need for continuous capacity building. While the presence of the incinerator provides a technical solution, human resources and operational management still require strengthening to ensure the incinerator is used optimally and maintained properly.

## 4.3. Strengths-Weaknesses-Opportunities-Threats (SWOT) analysis of waste management activities at the Yerobawol Health Center

Strengths:

- Presence of a regional containerized Inciner8 incinerator.

- Treatment of own waste and waste from nearby health facilities.

- Basic segregation of sharps.

Weaknesses:

- Inadequate color-coded bin bags and poor labelling.

- Limited data tracking and weighing mechanisms.

Opportunities:

- Role as a regional HCWM hub with potential for model practice.

- Staff capacity development through continuous training.

- Improved waste logistics with support from national stakeholders.

Threats:

- Increased waste load due to dependence from nearby facilities.

- Risk of incinerator malfunction if not properly maintained.

- Potential for community exposure if temporary storage site is not secured.

5. Stakeholder consultation

As part of the stakeholder consultation, the consultant undertook a community engagement/consultation with the host community and some of the key staff of the health center. The consultation took place on the 9th March 2025 to discuss the environmental and social impact of proposed project activities including the issue of healthcare waste management. The concerns and issues raised during the consultation are highlighted below.

## 5.1. Generation

At the time of the engagement with the different stakeholders in Yerobawol with regard to waste management within this facility.

The respondent classified the waste generated at the facility into two main components, which are hazardous and non-hazardous waste. They are also further grouped into degradable and non-biodegradable waste.

They also identified the main sources of waste generated within the facility, which are from the used clinical materials. Most of the organic waste is collected from the open environment, which was there as a result of waste thrown by people coming in and out of the facility as well as the droppings of the leaves from the plants within the facility.

The most common clinical waste materials generated at the Yerobawol health facility are as follows:

- Used syringes and needles: these are materials commonly generated at the facility, most especially during immunization campaigns, injections, and minor medical procedures. These materials are sharp waste materials, and if not properly taken care of can pose a threat to the human in terms of injury and infection.

- Used bandages and dressings: these are very common types of clinical waste materials generated from the facility, and they are infectious waste. The mismanagement of these types of clinical waste materials can pose serious health implications for the healthcare workers that are directly dealing with these wastes from generation to disposal.

- Expired medications These types of waste are a threat to the open environment and to both flora and fauna around the facility, as they contain some chemicals in the drugs that, when exposed to the soil, can contaminate and pollute the soil, which will affect their horticultural practices within the facility. They are mostly obtained from pharmaceutical waste.

- Contaminated gloves and cotton wool: these are the waste from the surgical and labor wards, as well as other wards within the facility. Placental waste from the maternal care services is also common waste generated at the facility.

## 5.2. Temporal storage

The respondent highlights that there are waste temporal storage points established within the facility. These established temporal storage points are a distance away from the domain of the human dwelling area as well as the staff quarters. The waste materials collected from the different wards are kept in a safe box and disposed of in the color-coded bins. These temporal storage points are only applicable to the non-biodegradable waste component. The biodegradable waste is mostly packed at one corner of the facility, and they set fire to it for open combustion.

These practices pollute the air within the facility and its surroundings, as some of the respondents claim that during the burning of the waste, the smoke from the fire is distributed by the wind, and in some instances, it reaches them.

## 5.3. Collection

The waste is collected by the healthcare workers from the bins. They said that they are always in protective gear when carrying out such operations to prevent direct skin contamination with the waste material. The constraints they face as per the collection of the waste material are the inadequate supply of gloves and other protective materials.

## 5.4. Transportation

The transportation of these waste materials from the collection point to the disposal point involved the use of wheelbarrows by the healthcare workers. These waste materials are always put in a plastic container or bins. The materials are not usually exposed to the open environment. This means that they are safely transported to the disposal sites.

## 5.5. Disposal

The disposal method of the facility is through the use of the incinerator and open burning. The waste categories that the incinerator has been used for are clinical waste and other inorganic forms of waste generated within the facility. The rest of the waste that is collected from the open environment is usually taken to the temporal combustion center.

They are mostly accumulated on a daily basis and burned openly. The health care workers are usually there to monitor the burning till it is completed.

Staff of the Environmental Unit at the Directorate of Public Health were consulted (12th June 2025) on the challenges associated with healthcare waste management at Yerobawol Health Centre and recommendations to address the identified challenges as shown in Table 5.1.

Table 5.1: Challenges and recommendation associated with healthcare waste management at Yerobawol Health Centre

| Challenges | Recommendation |
| --- | --- |
| Poor segregation practices – Though sharps are separated, other waste types are sometimes mixed or mislabeled. | Procure waste management materials (bins, bin liners, PPEs etc.) and |
| Limited knowledge of staff on proper waste management | Train staff on the National Healthcare Waste Management guidelines and protocols |
| No consistent weighing or monitoring system for waste generated | Provide basic weighing scales and assign responsibility to designated staff. |
| Incinerator operational strain – Being a regional incineration point, Yerobawol receives waste from multiple facilities, increasing pressure on the facility. | Implement a scheduled incineration plan; Provide fuel support for continuous operation of the incinerator, regular maintenance and possibly backup capacity from other facilities. |
| Limited capacity skill on the operation of the incinerator | Organize training on the operation of inciner8 incinerator for healthcare staff and support staff |

# 6. Main environmental and social risks and impacts of biomedical waste

## 6.1. Impacts of biomedical waste on health and the environment

The management of healthcare waste carries significant environmental and social implications, especially when systems for segregation, treatment, and disposal are inadequate. At Yerobawol Health Centre, as in many primary healthcare facilities, the risks include environmental degradation, community exposure to hazardous materials, and occupational hazards for staff. The following section identifies the main environmental and social risks and impacts linked to the generation and mismanagement of healthcare waste within the local context.

Table 6.1: Environmental and Social Risks/Impacts Associated with the Generation and Mismanagement of Healthcare Waste.

| Impact Type | Specific Impact | Risk Level | Description/Implication |
| --- | --- | --- | --- |
| Environmental | Air Pollution | High | Open burning releases toxic gases (dioxins, furans), contributing to air contamination. |
|  | Soil and Groundwater Contamination | Medium | Leachate from waste pits can pollute soil and water sources used for drinking and farming. |
|  | Plastic Accumulation | Medium | Non-biodegradable waste (e.g., gloves, syringes) remains in the environment long-term. |
|  | Wildlife and Livestock Exposure | Low | Animals may scavenge waste, spreading pathogens or being harmed by ingestion of materials. |
| Social | Negative Community Perception | Medium | Visible or poorly managed waste can reduce public trust in the health center. |
|  | Health Worker Exposure | High | Inadequate PPE leads to risk of injury and infection among waste handlers and janitorial staff. |
|  | Child Safety Risk | Medium | Exposed waste areas are accessible to children, increasing injury and infection risks. |
|  | Disease Transmission through Vectors | Medium | Waste attracts flies, mosquitoes, and rodents, which spread diseases. |
|  | Waterborne Illness Risk | Medium | Contaminated waste runoff can pollute local water sources, causing diarrheal outbreaks. |
|  | Secondary Household Exposure | Low | Contaminants may be transferred from workplace to home via clothes or equipment. |

## 6.2. Impacts of Healthcare Waste on Health and the Environment

Healthcare waste, if not properly managed, can have far-reaching impacts on both human health and the environment. The presence of infectious, toxic, or hazardous materials in the waste stream increases the risk of disease transmission, injuries, and pollution. At facilities like Yerobawol Health Centre, poor waste management can contaminate soil, water sources, and air, thereby affecting the broader ecosystem and public health. The table below summarizes the key environmental and health impacts associated with improper healthcare waste handling and disposal.

Table 6.2: Summary of Key Environmental and Health Impacts Associated with Improper Healthcare Waste Handling and Disposal of Healthcare Waste

| Type of Impact | Specific Impact | Riks level | Affected Groups / Areas | Examples Relevant to Yerobawol Health Centre |
| --- | --- | --- | --- | --- |
| Health Impact | Needle stick injuries leading to infections (e.g., HIV, Hepatitis B & C) | High | Health workers, waste handlers | Accidental pricks during the disposal of used syringes |
|  | Respiratory problems from the burning of waste | High | Staff, patients, and nearby residents | Open burning of waste near the facility |
|  | Skin infections or allergic reactions | Medium | Cleaners, waste collectors | Handling unsegregated, unlabeled waste |
|  | Spread of drug-resistant pathogens | Medium | Patients, general public | Inadequate disposal of pharmaceuticals |
|  | Waterborne diseases (e.g., cholera, typhoid) from contaminated water | Medium | Community members | Leachate from waste dumped near wells or streams |
| Environmental Impact | Soil contamination from chemical and pharmaceutical waste | Low | Agricultural land, gardens | Improper disposal of expired drugs |
|  | Air pollution from incineration or open burning | High | Local atmosphere, respiratory health | Smoke and toxins are released from unregulated burning |
|  | Water pollution from leachate runoff into surface and groundwater | Medium | Boreholes, wells, rivers | Rainfall washes waste into water sources |
|  | Biodiversity loss due to toxic exposure (especially from cytotoxic waste) | Low | Wildlife, livestock | Stray animals accessing open dumps |
|  | Visual and odor pollution | Low | Community aesthetics | Overflowing bins, open waste piles |

## 6.3. Health Risks Associated with Poor Management of Healthcare Waste from Health Centre Activities

Improper handling and disposal of healthcare waste pose serious health risks to healthcare workers, waste handlers, patients, visitors, and the surrounding community. At Yerobawol Health Centre, inadequate waste management practices such as poor segregation, unsafe storage, or exposure to infectious materials can lead to the transmission of infections, injuries, and long-term health complications. The table below outlines key health risks linked to poor biomedical waste management, with emphasis on risks specific to the center’s operations.

Table 6.3: Health Risks Associated with Poor Biomedical Waste Management

| Type of Risk | Specific Hazard | Risk level | Description/Implication |
| --- | --- | --- | --- |
| Sharps Injuries | Needle-stick injuries from improperly disposed of sharps | High | Can transmit HIV, Hepatitis B and C, tetanus, and other bloodborne infections. |
| Respiratory Illness | Inhalation of smoke from open burning | High | Leads to chronic bronchitis, asthma, eye irritation, and long-term lung damage. |
| Skin and Eye Exposure | Direct contact with infectious or chemical waste | Medium | Causes dermatitis, conjunctivitis, burns, or allergic reactions due to toxic substances. |
| Vector-borne Diseases | Attraction of flies, mosquitoes, and rodents | Medium | Increases risk of malaria, typhoid, Lassa fever, and other vector-borne infections. |
| Waterborne Diseases | Contamination of wells and surface water | Medium | May lead to diarrhea, cholera, dysentery, and other enteric infections in the community. |
| Cross-Contamination | Waste handler spreads pathogens unknowingly | Medium | Risk of infections to family members or patients through indirect contact. |
| Occupational Exposure | Lack of PPE and training among healthcare staff | Medium | Leads to accidental exposure during waste collection, sorting, or disposal. |
| Chemical Toxicity | Exposure to pharmaceuticals or disinfectants in waste | Medium | May cause poisoning, endocrine disruption, or long-term health complications. |

# 7. Measures to improve biomedical waste management

This section outlines practical, context-specific measures aimed at improving the overall healthcare waste management system. The proposed measures focus on prevention, proper segregation, safe handling, treatment, and disposal of waste, as well as institutional capacity building and monitoring mechanisms. These improvements will contribute significantly to reducing the health and environmental risks associated with poor waste management.

Table 7.1: Measures to improve biomedical waste management at Yerobawol Health Centre

| Measure | Description |
| --- | --- |
| Staff Training and Capacity Building | Regularly train all health workers, cleaners, and waste handlers on waste segregation, safety, and disposal protocols. |
| Waste Segregation at Source | Ensure color-coded bins and containers are available and used appropriately at all service points. |
| Adequate Supply of Waste Containers | Provide enough bins, sharps boxes, and leak-proof containers to avoid mixing of waste types. |
| Establishment of Temporary Storage Areas | Set up designated, secure areas within the facility for temporary storage of healthcare waste before final disposal. |
| Procurement of Personal Protective Equipment (PPE) | Supply gloves, aprons, masks, and boots to all staff handling biomedical waste to reduce exposure risks. |
| Installation of Safe Treatment/Disposal Systems | Introduce autoclaves, incinerators, or other appropriate technologies for waste treatment. |
| Regular Waste Collection and Disposal | Maintain a routine schedule for the internal collection and external disposal of healthcare waste. |
| Monitoring and Supervision Mechanisms | Implement internal audits and supervision by designated officers to ensure compliance with waste protocols. |
| Public and Community Sensitization | Engage nearby communities on safe waste disposal practices and how to report illegal or harmful dumping. |
| Strengthening of Institutional Frameworks | Clarify roles and enhance coordination among waste management actors at the health center and district levels. |
| Record-Keeping and Reporting | Maintain logs on waste generation, treatment, and disposal to improve planning and regulatory compliance. |
| Budget Allocation and Resource Mobilization | Secure dedicated funding for healthcare waste management activities within the facility’s operational budget. |

# 8. Healthcare Waste Management Plan

The safe and sustainable management of healthcare waste is an important aspect of public health and a responsibility of all partners working in the health sector. Improper management of healthcare waste poses a significant risk to patients, health-care workers, the community and the environment. The right investment of resources and commitment will result in a substantive reduction of disease burden and corresponding savings in health expenditures. The effective management of medical waste is an integral part of a national health-care system, and as such needs to be integrated in this project as in line with the national laws and AfDB safeguard policies. A holistic approach to healthcare waste management should include a clear delineation of responsibilities, occupational health and safety programs, waste minimization and segregation, the development and adoption of safe and environmentally-sound technologies, and capacity building.

The health care facility’s waste management plan should integrate all aspects of managing waste, from avoidance and minimization, proper segregation and containment, safe handling, storage and transport, to treatment and disposal. It should clearly define roles and responsibilities of staff, guiding principles, as well as the requirements for training and awareness. Reference to the legal requirements should be made to ensure compliance is established and standards maintained. The allocation of resources also needs to be set out, in terms of financial resources, time, equipment and personnel.

# 8.1. Identification of activities generating healthcare waste

Healthcare waste is generated from different service units as shown in Table 8.1.

Table 8.1: Activities generating waste in Yerobawol Health Centre

| Department/Unit | Activity | Type of Waste Generated |
| --- | --- | --- |
| Outpatient Department | Patient consultation and minor procedures | Infectious waste, sharps, general waste |
| Maternity/Labour Ward | Deliveries, episiotomies | Blood-soaked materials, placenta, sharps |
| Laboratory | Sample collection, testing | Infectious waste, chemical waste, sharps |
| Injection Room | Immunization and drug administration | Used syringes, cotton, ampoules |
| Dressing/Wound Care Unit | Cleaning and dressing wounds | Soiled gauze, gloves, sharps |
| Inpatient Ward | Daily patient care | Soiled linen, food waste, sharps |
| Pharmacy | Drug dispensing and expired drug management | Expired drugs, blister packs, packaging materials |
| Waste Storage Area | Temporary storage before final disposal | All categories of waste in segregated containers |
| Antenatal/Postnatal Clinic | Routine ANC/PNC care | Sharps, general waste, soiled gloves |

## 8.2. General Healthcare Waste Management System

As highlighted by the National Health Care Waste Management Standard Operating Procedures, the first step in healthcare waste management is to minimize waste. To this end, a standardized assessment tool should be developed to identify gaps in the management process, including occupational health issues. Though all members of staff are responsible for managing waste, to ensure optimal waste management, it is recommended to establish a facility-based Waste Management Committee and coordinated by the Public Health Officers (PHOs). The PHOs should coordinate the healthcare waste management system and be supported by the health facility management. In addition, the roles and responsibilities of key personnel engaged in waste management activities should be defined during all phases (i.e. generation, segregation, transportation and final disposal) and a functional waste management committee should be established.

### 8.2.1. Healthcare Waste Generation

At the point of generation, waste should be identified and segregated. Non-hazardous waste, such as paper and cardboard, glass, aluminum and plastics, should be collected separately and recycled. Food waste should be segregated and composted. Infectious/hazardous wastes should be identified and segregated according to its category using a color-coded system. If different types of waste are mixed accidentally, that waste should be treated as hazardous. Other segregation considerations include the following:

- Avoid mixing general health care waste with hazardous health care waste to reduce disposal costs;

- Segregate waste containing mercury for special disposal.

- Management of mercury containing products and associated waste should be conducted as part of a plan involving specific personnel training in segregation and clean up procedures;

- Segregate waste with a high content of heavy metals (e.g. cadmium, thallium, arsenic, lead) to avoid entry into wastewater streams;

- Separate residual chemicals from containers and remove to proper disposal containers to reduce generation of contaminated wastewater. Different types of hazardous chemicals should not be mixed;

- Establish procedures and mechanisms to provide for separate collection of urine, feces, blood, vomits, and other wastes from patients treated with genotoxic drugs. Such wastes are hazardous and should be treated accordingly

- Aerosol cans and other gas containers should be segregated to avoid disposal via incineration and related explosion hazard;

- Segregate health care products containing PVC to avoid disposal via incineration or in landfills

### 8.2.2. Waste Minimization

Waste minimization reduces the volume and toxicity of waste generated. Key strategies in the Gambian context are highlighted in Table 8.2.

Table 8.2. Waste Minimization Strategies

| Strategy | Application |
| --- | --- |
| Source reduction | Encourage use of reusable surgical instruments and diagnostic equipment. |
| Improved procurement | Avoid over-purchasing or accepting unnecessary donations of medications or consumables. |
| Efficient use of supplies | Train staff on appropriate use of materials to reduce avoidable waste. |
| Recycling (where safe) | Paper, cardboard, and plastic packaging in general waste can be recycled at central collection points. |

### 8.2.3. Healthcare Waste Segregation

A programmed routine for healthcare waste collection should be established as part of the HWMP. Waste should be separated into categories and placed in designated containers (i.e., covered waste bins) as soon as it is generated in the treatment room or department. Health care workers are responsible for appropriately disposing of the waste. The number of places where patients and visitors can dispose of waste should be minimized (e.g. using designated containers in communal areas). The WHO recommends that small amounts of chemicals can be collected with infectious waste. Large amounts of hazardous chemicals should be packed in chemical resistant containers and be sent to specialized treatment facilities (if available).  Waste buckets should be transported with their lids securely in place to prevent spillage. When many containers need to be transported, a cart or trolley should be used to prevent back injury.

Offsite transport of hazardous waste should be subject to national regulations. Certain recommendations should be followed by the health labourers/orderlies:

- Collection of Healthcare waste should be health facility units, followed by transfer to the designated point(s) for segregation and/or treatment.

- Waste should be collected daily at the same time (or as frequently as required) and transported to the designated temporal storage/treatment site.

- No bags should be removed unless they are labelled with the point of production (health unit/center) and contents.

- Bags or containers should be replaced immediately with new ones of the same type.

- There should be enough bins provided to ensure an appropriate number of clean bins in rotation. Bins should be washed and disinfected before reuse.

- The waste should be placed in rigid or semi-rigid and leak-proof containers.

Segregation is the cornerstone of effective HCWM and must occur at the point of generation using color-coded containers. Segregation helps reduce treatment costs and prevents hazardous exposure.

Table 8.3. Waste Segregation Methods

| Waste Type | Segregation Method |
| --- | --- |
| Infectious waste | Yellow bin with biohazard symbol |
| Sharps | Puncture-proof container, usually yellow or red |
| General waste | Black bin or green bin |
| Pharmaceutical waste | Brown bin |
| Chemical waste | Yellow bin with chemical hazard symbol |
| Pathological waste | Red bin or heavy-duty leak-proof bags |

### 8.2.4. On-site Handling, Collection

- Seal and replace waste bags and containers when they are approximately three quarters full bags and containers should be replaced immediately;

- Identify and label waste bags and containers properly prior to removal;

- Transport waste to storage areas on designated trolleys / carts, which should be cleaned and disinfected regularly;

- Waste storage areas should be located within the facility and sized to the quantities of waste generated, with the following design considerations:

  - Hard, impermeable floor with drainage, and designed for cleaning / disinfection with available water supply

  - Secured by locks with restricted access

  - Designed for access and regular cleaning by authorized cleaning staff and vehicles

  - Protected from sun, and inaccessible to animals / rodents

  - Equipped with appropriate lighting and ventilation

  - Segregated from food supplies and preparation areas

  - Equipped with supplies of protective clothing, and spare bags / containers

### 8.2.5. Healthcare Waste Collection

Table 8.4 presents the best practice on waste collection activities.

Table 8.4. Waste collection activity

| Activity | Best Practice |
| --- | --- |
| Collection frequency | Daily collection preferred; minimum of once every 24–48 hours in large facilities |
| Route planning | Separate collection routes for infectious and general waste |
| Personnel | Trained personnel with appropriate PPE |
| Tools | Dedicated carts/trolleys that are washable and not used for other purposes |
| Documentation | Waste transfer records maintained from collection to treatment/disposal site |

### 8.2.6. Color Coding and Labeling

Table 8.5. Color coding

| Color | Waste Category | Container Type | Label Example |
| --- | --- | --- | --- |
| Black | General waste | Plastic bin | "Domestic Waste – Non-infectious" |
| Yellow | Infectious waste | Plastic bin or bag | "Infectious Waste – Handle with Care" |
| Red | Pathological/sharps | Bin with lid or sharps box | "Sharps – Biohazard" |
| Brown | Pharmaceutical | Leak-proof container | "Pharmaceutical Waste – Expired Drugs" |
| Blue | Chemical waste | Sealed chemical-resistant container | "Chemical Waste – Handle with Gloves" |
| White (Translucent) | Pressurized containers (e.g. inhalers) | Rigid bin | "Pressurized Waste – Do Not Incinerate" |

### 8.2.7. Waste Handling Safety Measures

- All personnel handling infectious healthcare waste must wear gloves and additional protective medical clothing and Personal Protective Equipment (PPE) appropriate to the level of risk they encounter and shall remove any protective medical clothing used prior to leaving the work area and to place it in a designated area or container.  When performing procedures where splashing is not expected, gloves are the minimum PPE that may be worn;

- Protective medical clothing and PPE should not be submitted for laundering unless sterilized;

- When performing procedures where splashing may occur or when infectious medical waste bags or containers may contact more than the worker’s hands and wrists, the following medical protective clothing and PPE is required in addition to gloves;

- Appropriate protective medical clothing should be of material that does not permit infectious medical waste from penetrating and reaching workers clothes or skin;

- Eye protection, surgical face masks, and face shields when personnel may reasonably anticipate facial exposure to infectious medical waste.

- Implement immunization for staff members, as necessary (e.g. vaccination for hepatitis B virus, tetanus immunization).

### 8.2.8. Medical Waste Storage and Packaging

- A temporary waste storage area, within the Yerobawol Health Centre should be set aside to store soft waste until it can be incinerated. Storage of healthcare waste should be for the minimum possible time, 24-48 hours in hot countries, 48-72 hours for cold countries (WHO).

- Biomedical waste other than sharps and bulk liquids must be packaged in sealed bags which are leak-proof and rip resistant.

- Sharps shall be placed in rigid leak and puncture resistant containers.

- Bulk liquids to be transported off-site shall, in addition to the above requirements, be placed in rigid containers.

- All medical waste must be stored in a secure area designated for such material.

- Pathological waste stored anywhere for more than 24 hours must be refrigerated. Storage of biomedical wastes may need to be stored at the facility of origin until a large enough quantity is accumulated to warrant on-site treatment, or until transport to an offsite treatment facility is scheduled.

The following general guidelines apply to typical healthcare waste storage, transfer, and collection areas:

- Store medical/infectious waste in a designated area located at /or near the treatment site or the waste pickup point.

- Areas used to store medical/infectious waste should be durable, easily cleanable, impermeable to liquids, and protected from vermin and other potential mechanisms that might spread infectious agents.

- The manner of storage should maintain the integrity of the containers, prevent leakage of waste from the container, provide protection from the weather, and maintain the waste in a non-putrescent, odorless state (this may require refrigeration).

- Storage areas should have adequate ventilation systems.

- Access should be securely controlled and limited. Due to the hazardous nature of some healthcare wastes, appropriate methods of storing waste will help to prevent accidents and infections. Storage locations should be accessible, exclusive, secure, hygienic and sanitary, located as far as possible from patient treatment areas.

It is recommended that space for storing wastes should be incorporated into a building design when new construction is undertaken at the health facility. These storage areas should be sized according to the quantities of waste generated and the frequency of collection. These areas must be totally enclosed and separate from supply rooms or food preparation areas. Only authorized staff should have access to the waste storage areas.

### 8.2.9. Transport to External Facilities

- Transport waste destined for off-site facilities according to the guidelines for transport of hazardous wastes / dangerous goods in the General EHS Guidelines;

- Transport packaging for infectious waste should include an inner, watertight layer of metal or plastic with a leak-proof seal. Outer packaging should be of adequate strength and capacity for the specific type and volume of waste;

- Packaging containers for sharps should be puncture-proof;

- Waste should be labeled appropriately, noting the substance class, packaging symbol (e.g. infectious waste, radioactive waste), waste category, mass / volume, place of origin within hospital, and final destination;

### 8.2.10. Treatment and Final Disposal Methods

Treatment and final disposal are the last steps in the healthcare waste management chain. In The Gambia, practices vary significantly across facility levels:

Tertiary hospitals (Hospitals) are linked to centralized treatment facilities. Secondary and rural facilities often rely on incineration, burial pits, or open burning, depending on resource availability.

Table 8.6. Common Treatment Methods in The Gambia

| Method | Application | Advantages | Limitations |
| --- | --- | --- | --- |
| Incineration (double-chamber, high-temp) | Farato Clinical Waste Facility | Effectively destroys infectious/pathological waste | Expensive, emits toxic pollutants if not well-maintained |
| Drum/Brick Incinerators (low-tech) | Health Centers, minor facilities | Inexpensive, easy to build | Incomplete combustion, high emissions, no temperature control |
| Autoclaving (Steam Treatment) | Some labs, pilot projects | Environmentally safer; good for infectious waste and sharps | Requires electricity, skilled operators, not suitable for all waste types |
| Chemical Disinfection (e.g., Chlorine) | Limited use in labs | Low-cost for liquid infectious waste | Generates hazardous byproducts, not effective for solid waste |
| Open Burning and Shallow Burial | Rural posts | Readily available | Environmentally hazardous; exposing the public to toxins and pathogens |

Table 8.7. Treatment and Final Disposal at Yerobawol Health Centre

| Waste Type | Current Practice | Recommended Upgrade |
| --- | --- | --- |
| Sharps | Gathered in Safety Containers | Transport to the incinerator for treatment |
| Pathological waste (placentas) | Gathered for collection by staff | Use plastic lined, covered, and secured |
| Infectious waste | Gathered for collection by staff | Transport to Incinerator on site. |
| General waste | Dumped in communal bin for collection | Coordinate with local council for safer disposal |
| Expired drugs | Stored until Yerobawol site collection | Maintain logbook and lockable pharmaceutical waste box |

# The summary of the mitigation measures recommended for the potential impacts are presented in Table 8.8.

Table 8.8: HCWM implementation of the mitigation measures

| Activities | Potential Impacts | Mitigation Measures | Responsibility |
| --- | --- | --- | --- |
| Increase Healthcare Waste generation | - Increase health and safety risks - Environmental degradation - Air, water and soil pollution | Waste Minimization - Encourage use of reusable surgical instruments and diagnostic equipment. - Avoid over-purchasing or accepting unnecessary donations of medications or consumables. - Train staff on appropriate use of materials to reduce avoidable waste. - Paper, cardboard, and plastic packaging in general waste can be recycled at central collection points. Waste Segregation - Avoid mixing general health care waste with hazardous health care waste to reduce disposal costs - Segregate waste containing mercury for special disposal. - Segregate waste with a high content of heavy metals (e.g. cadmium, thallium, arsenic, lead) to avoid entry into wastewater streams - Establish procedures and mechanisms to provide for separate collection of urine, feces, blood, vomits, and other wastes from patients treated with genotoxic drugs. - Segregate health care products containing PVC to avoid disposal via incineration or in landfills | -MOH - Officer in-charge - Regional Health Directorate - Directorate of Public Health |
| Poor and irregular Healthcare Waste collection and handling | - Infections and disease transmission - Increased risk to informal waste pickers and scavengers - Air, soil and water pollution - Needlestick injuries | - All personnel handling infectious healthcare waste must wear gloves and additional protective medical clothing and Personal Protective Equipment (PPE) appropriate to the level of risk they encounter - Protective medical clothing and PPE should not be submitted for laundering unless sterilized; - Seal and replace waste bags and containers when they are approximately three quarters full bags and containers should be replaced immediately; - Identify and label waste bags and containers properly prior to removal; - Transport waste to storage areas on designated trolleys / carts, which should be cleaned and disinfected regularly; - Waste storage areas should be located within the facility and sized to the quantities of waste generated | MOH - Officer in-charge - Regional Health Directorate - Directorate of Public Health |
| Improper Healthcare Waste Storage | - Infections - Exposure to toxic - Long-term environment degradation | - A temporary waste storage area, within the Yerobawol Health Centre should be set aside to store soft waste until it can be incinerated. Storage of healthcare waste should be for the minimum possible time, 24-48 hours in hot countries, 48-72 hours for cold countries (WHO). - Biomedical waste other than sharps and bulk liquids must be packaged in sealed bags which are leak-proof and rip resistant. - Sharps shall be placed in rigid leak and puncture resistant containers. - Bulk liquids to be transported off-site shall, in addition to the above requirements, be placed in rigid containers. - All medical waste must be stored in a secure area designated for such material. - Pathological waste, stored anywhere for more than 24 hours must be refrigerated. Storage of biomedical wastes may need to be stored at the facility of origin until a large enough quantity is accumulated to warrant on-site treatment, or until transport to an offsite treatment facility is scheduled. - Store medical/infectious waste in a designated area located at /or near the treatment site or the waste pickup point. - Areas used to store medical/infectious waste should be durable, easily cleanable, impermeable to liquids, and protected from vermin and other potential mechanisms that might spread infectious agents. - The manner of storage should maintain the integrity of the containers, prevent leakage of waste from the container, provide protection from the weather, and maintain the waste in a non-putrescent, odorless state (this may require refrigeration). - Storage areas should have adequate ventilation systems. - Access should be securely controlled and limited. | MOH - Officer in-charge - Regional Health Directorate - Directorate of Public Health |
| Healthcare Waste Transportation | - Accidental exposure - Disease spread - Odor nuisance - Air, soil and water pollution | - Transport waste destined for off-site facilities according to the guidelines for transport of hazardous wastes / dangerous goods in the General EHS Guidelines; - Transport packaging for infectious waste should include an inner, watertight layer of metal or plastic with a leak-proof seal. Outer packaging should be of adequate strength and capacity for the specific type and volume of waste; - Packaging containers for sharps should be puncture-proof; - Waste should be labeled appropriately, noting the substance class, packaging symbol (e.g. infectious waste, radioactive waste), waste category, mass / volume, place of origin within hospital, and final destination | MOH - Officer in-charge - Regional Health Directorate - Directorate of Public Health |
| Healthcare waste disposal by burning | - Health and safety risks for waste handlers; - Air contamination | - Uncontrolled, open burning of infectious waste particularly containing plastics and PVC objects will not be done. - Proper documentation and handover-takeover protocols are ensured. - Use of PPEs by the waste handlers and sanitary workers - Capacity building and training of HCWM staff; - Waste is not disposed in open dump site. - Waste is only buried in pit using pit burial guidelines | MOH - Officer in-charge - Regional Health Directorate - Directorate of Public Health |
| Healthcare Waste disposal – Incineration | - Health and safety risks for incinerator operators and nearby communities. - Air contamination | - Use of infection control protocol; Comply with HWMP - Proper documentation and handover-takeover protocol - For proper disposal of the waste, incinerator is installed (in the facility) - All waste is burnt in the small-scale incinerator - Proper documentation and handover-takeover protocol; - Use properly designed for medical waste treatment, double chamber incinerators with wet scrubbers. - Ensure that incineration is carried out at 1200 °C - Properly operate and maintain incinerators particularly to avoid leakage of gases from the first chamber - Ensure that dioxins are not released, and exhaust gases comply with EQM Regulation 2024 - Maintain complete record of the key incinerator operation parameters (waste quantity incinerated, temperature in first chamber, temperature in second chamber, resident time, and others) - Capacity building and refresher trainings of operators - Use of PPEs | MOH - Officer in-charge - Regional Health Directorate - Directorate of Public Health |

## 8.3. Resources Required to Implement the Hazardous and Healthcare Waste management Plan

To ensure the effective implementation of the Hazardous and Healthcare Waste Management Plan (HCWMP) at Yerobawol Health Centre, a combination of infrastructure, equipment, human resources, and financial inputs is required. The table below outlines the key resources needed to support each stage of the waste management process, from generation to final disposal, in line with national guidelines and best practices.

Table 8.9: Resources Needed to Support HealthCare Waste Management Plan

| Resource | Description | Responsibility/Role |
| --- | --- | --- |
| Human Resources |  |  |
| Waste Management Officer/Team | Dedicated staff responsible for overseeing all waste management activities. | Supervision of daily waste management activities, ensuring compliance with policies, and monitoring waste segregation, storage, and disposal. |
| Trained Healthcare Workers | Medical staff, nurses, and lab technicians must be trained on safe waste management practices. | Waste segregation, safe handling of healthcare waste and the proper use of PPE. |
| Cleaning and Waste Handling Staff | Staff are responsible for the physical collection, transport, and final disposal of waste. | Segregating waste, collecting, storing, transporting, and ensuring safe disposal practices are followed. |
| Waste Disposal Contractors | External service providers for waste treatment and disposal (e.g., incinerator services). | Safe disposal of hazardous and healthcare waste including incineration or burial. |
| Training Facilitators | Experts or institutions for training staff on waste management. | Conduct training sessions, prepare materials, and assess staff competency. |
| Financial Resources |  |  |
| Resource | Description | Responsibility/Role |
| Initial Setup Costs | One-time costs for infrastructure, equipment, and staff training. | Construction of storage areas, purchase of incinerators, safety equipment, and training costs. |
| Operational Costs | Recurring costs for waste collection, handling, transportation, and disposal. | Fuel for transportation, PPE, cleaning supplies, waste bags, and containers. |
| Maintenance Costs | Costs associated with the maintenance of waste disposal systems and equipment. | Regular maintenance of incinerators, storage areas, and transportation vehicles. |
| Emergency Fund | Allocated funds for unanticipated costs, such as urgent waste disposal or accidental spills. | A contingency fund to address unforeseen incidents related to waste management. |
| Support for Awareness Campaigns | Financial resources for public education and staff sensitization on waste management practices. | Printing of educational materials, organizing workshops, and media campaigns. |
| Infrastructural Requirements |  |  |
| Resource | Description | Responsibility/Role |
| Waste Segregation Bins | Color-coded bins for segregating biomedical, hazardous, and general waste. | Ensure that waste is separated correctly at the point of generation. |
| Sharps Containers | Puncture-proof containers for the disposal of sharps. | Safely collect and store needles, syringes, and other sharp objects. |
| Waste Storage Area | Secure and well-ventilated area for temporary storage of biomedical waste. | Prevent contamination, reduce exposure risks, and manage waste safely before disposal. |
| Incinerator/Autoclave | Equipment for the treatment of infectious and hazardous waste. | Reduce volume and toxicity of HEALTHCARE WASTE through safe incineration or autoclaving. |
| Transportation Vehicles | Trolleys, carts, and vehicles for transporting waste from collection points to storage areas or disposal sites. | Safely move waste without risk of spillage or contamination. |
| Personal Protective Equipment (PPE) | Gloves, masks, gowns, and boots for personnel involved in waste management. | Protect staff from exposure to hazardous and infectious materials. |

# Monitoring the Healthcare Waste Management Plan

Monitoring is required to follow-up on decisions made to intervene in various activities of healthcare waste management in order to protect human health and the environment. This can be achieved through periodic monitoring and evaluation on a continuous basis through a variety of modalities.

The objective of the monitoring is elevation the level of implementation of this plan against the established appropriate criteria to address potential negative impacts of healthcare waste generated by the project activities, and to ensure that unforeseen risks and impacts are detected and mitigation measures implemented at an early stage. Specific objectives of the monitoring plan are to:

- ensure that any additional impacts are addressed appropriately;

- check the effectiveness of the recommended mitigation measures;

- ensure that the proposed mitigation measures are appropriate;

- demonstrate that medical waste management is being implemented according to plan and existing regulatory procedures; and

- provide feedback to implementing parties in order to make modifications to the operational activities where necessary.

## Monitoring and Evaluation System

Table 9.1: Monitoring and Evaluation Arrangements

| Measures/Activities | Indicators | Responsible for Implementation | Responsible for Monitoring | Source of Funding | Total Cost (USD) |
| --- | --- | --- | --- | --- | --- |
| Procurement and installation of color-coded waste bins and sharps boxes | Number of bins installed | Health Centre Admin | Regional Health Directorate (RHD) | MoH / Partners | 10,000 |
| Staff training on HCWM procedures, segregation, and PPE use | Number of staff trained | Facility Head / MoH | RHD / MoH | MoH / Partners | 4,000 |
| Procurement of PPE (gloves, masks, boots, aprons) | Quantity of PPE distributed | Health Centre Admin | RHD | MoH / Donors | 5,000 |
| Construction of a secured waste storage area | One storage area constructed | MoH Infrastructure Unit | RHD / NEA | Government / Partners | 10,000 |
| Establishment of internal waste collection schedule | Collection log maintained | Waste Focal Person | Health Centre Supervisor | Health Centre Budget | 0 |
| Agreement with regional authorities for off-site waste treatment and incineration | Signed MoU | Health Centre Admin | RHD | MoH | 0 |
| Monitoring and documentation of waste generated and disposed | Monthly reports submitted | Waste Management Focal Person | RHD / MoH | Health Centre Budget | 500 |
| Community sensitization on the risks of improper waste disposal | Number of community meetings held | Facility Public Health Officer | CHS / NEA | Local Government | 5000 |
| Provision of spill kits and training on emergency response | Number of kits available and training held | Health Centre Admin | MoH / CHS | MoH / Partners | 2,500 |

## Monitoring Arrangements

Monitoring mechanisms for Yerobawol Health Centre will include the Public Health Desk Officer, Officer-in-Charge (OIC), supervision to be done by the Regional Principal Public Health Officer (RPPHO). The management should also work with NEA Regional Officer as part of the monitoring process.

### Institutional Arrangements for Implementing the Action Plan

The following table outlines the key institutional arrangements and roles required for the successful implementation of the action plan at the local level. It highlights the critical stakeholders, their respective responsibilities, and the mechanisms for coordination and support.

Table 10.2: Institutional arrangement

| Actors | Roles and Responsibilities |
| --- | --- |
| Yerobawol Health Centre Management | Lead implementation of the HCWMP- Oversee daily waste management operations- Ensure availability of logistics and supplies- Appoint a waste management focal person |
| Waste Management Focal Person | Coordinate waste segregation, collection, storage, and documentation- Train staff on best practices- Maintain waste logs and ensure safety compliance |
| Regional Health Directorate (RHD) | Provide supervisory support- Monitor implementation progress- Liaise with MoH for technical support and resource mobilization |
| Ministry of Health (MoH) | Develop policies and provide national-level oversight- Mobilize funding and technical resources- Coordinate capacity building |
| National Environment Agency (NEA) | Ensure environmental compliance- Provide guidance on waste disposal standards- Participate in monitoring and evaluation |
| Community Health Services (CHS) | Support community education and awareness on health risks- Collaborate on behavior change communication activities |
| Local Government Authorities | Provide land or support for infrastructure development (e.g., waste pits)- Assist in community sensitization |
| Development Partners/Donors | Provide financial or material support- Support training and infrastructure through projects or grants |

## Monitoring Indicators

Considering the type of interventions implemented by this project that are anticipated to have limited, site-specific impacts, the following will be used to monitor progress in implementing the Healthcare waste management plan:

- Existence of human resource capacity in health care units and facilities with basic knowledge to deal with medical waste;

- Existence of records on waste generation; and

- Development of mechanisms for proper and safe healthcare waste management and disposal.

The monitoring of environmental effects is necessary to ensure that predicted impacts are addressed effectively and efficiently through the mitigating measures indicated. Specific monitoring indicators for consideration include the following, as presented in Table 10.3.

Table 10.3: Monitoring Indicators

| Focus Area | Monitoring Indicator | Target (12 months) | Data Source | Frequency | Responsible Party |
| --- | --- | --- | --- | --- | --- |
| Internal Packaging and Storage | % of waste properly segregated and stored in color-coded bins | 90% | Segregation audit tool | Monthly | Public Health Officer |
| External Packaging and Storage | Existence of a secured well-ventilated storage area | Yes | Physical site inspection | Quarterly | Facility Manager / Maintenance |
|  | Number of days waste remains in temporary storage | ≤2 days | Storage log | Weekly | Waste Handler /HCWM Committee |
| Transportation | % of waste transported using designated trolley with PPE | 100% | Supervision report | Monthly | Safety Officer |
|  | # of staff trained on safe internal waste transport | All relevant staff | Training register | After training | Training Officer |
| Treatment and Disposal | Functionality of on-site treatment system (e.g., incinerator) | Functional | Maintenance log | Monthly | Maintenance Technician |
|  | % of sharps properly disposed in sharp pits or containers | 100% | Waste audit | Quarterly | Public Health Officer |
| Administration | % of HCWM reports submitted on time to Regional Directorate | 100% | HCWM reporting forms | Quarterly | HCWM Committee Chair |
|  | Number of HCWM Committee meetings held per year | 4 (1/quarter) | Meeting minutes | Quarterly | HCWM Committee Secretary |
|  | Budget execution rate for HCWM activities | ≥90% | Budget and finance reports | Annually | Facility Finance Officer |

# Mechanism for managing complaints and grievances

## Description of the Grievance Mechanism(GM) at Yerobawol Health Centre

It should be expected that grievances or disputes/complaints could arise in the implementation of the measures. The ESIA studies recognized three types of disputes and grievances during the implementation of feeder road activities and as such proposed the mechanism to redress any grievance or complaint that may arise.

The first type refers to the dispute between the project and/or the contractor and the local community, the second one refers to the dispute between the contractor and its workforce and the third to the dispute between the contractor and the client.

Following the procedures of the National Social Protection Grievance Mechanism, the project should establish GRM committees at Community level and Project Level. The said committees should receive trainings on GRM matters related to project including reporting, registering, and investigating grievance or disputes/complaints among others.

The composition of the said structures could be assessed to observe the adequacy of members where necessary add those relevance personnel to the team and provide more training/sensitizations specifics to feeder roads.

- The following process should be followed in receiving and responding to grievances.

  - the grievance is received by Chairperson of the Committee and recorded in a grievance register by the Secretary.

  - the Chairperson summons a meeting within seven calendar days of receiving the grievance, inviting the representative of the Project in the Region

  - if the Committee agrees to an immediate action to satisfy the complainant, the latter shall be briefed by the Chairperson of the remedial action and how it will be implemented.

  - for a corrective action that requires a longer period, again the Chairperson will inform the complainant of the action and proposed timeline for correction.

  - in either ‘iii’ or ‘iv’ above, the Chairperson get written satisfaction from the Complainant on the action taken and formally close the case in the Register.

In managing grievances, a Grievance Redress Mechanism will be employed, and it will include:

- Setting up of a site-level GRM/Grievance Redress Mechanism Committee (GRMC) for the adaptation and implementation by the contractor with regular reporting to the NSPA PIU.

- The NSPA PIU will constantly engage project-affected people through its Stakeholder and Public Disclosure Plan. This will keep the communities informed of developments on the project, including planned activities, project impacts and mitigation measures, grievance mechanism, the right to submit complaints and the compensation process.

- Building capacity of the project team and site level GRMC to ensure they can engage the communities, records and ensure grievances are resolved.

- Alternative Dispute Resolution Mechanisms will also be used as a key element of GRM.

Grievances are expected to be communicated either verbally (in a language of choice) or in writing to the GRMC through a Short Code called (1229) which will be shared with all the committees for ease of communication. Upon receipt of complaints, timely responses are expected to be given. If grievances cannot be resolved locally, they are expected to be referred quickly to the region for resolution.

Actions to be taken to address grievance will be agreed upon by the GRMC, and progress of implementation of agreed measures reported to the Local community, and PIU and monthly. Table 10.1 presents the operating budget of the GRM. This budget is estimated at USD 13,000.

Table 10.1: Implementation Budget Summary for GRM

| Headings | Unit | Quantity | Unit cost (USD) | Total cost (USD) |
| --- | --- | --- | --- | --- |
| Reproduction and distribution of forms | Lump sum | 1 | 500 | 500 |
| Organization of GRM awareness and public campaigns in project area | Session | 6 | 1,000 | 6,000 |
| Training of GRMC on the GRM specific to center construction/renovation. | Session | 1 | 1,500 | 1,500 |
| Support for the operating of complaints management committees | Lump sum | 1 | 5,000 | 5,000 |
| Total cost of the implementation of GRM |  |  |  | 13,000 |

## How the GM operates

The table beneath (Table 10.2) provides description of how the grievance mechanism which is riding on the national social protection grievance mechanism will operate for Yerobawol Health Centre

Table 10.2: Grievance Mechanism (GM) Operation for Yerobawol Health Centre

| Step | Description | Responsible Entity | Timeline |
| --- | --- | --- | --- |
| Complaint Submission | Complaints submitted via suggestion box, phone, verbal, or written channels | Complainant / Community Member | Anytime |
| Acknowledgment | Receipt of complaint is acknowledged (verbally or in writing) | Complaints Officer / Health Facility Focal Point | Within 24–72 hours |
| Logging | Complaint details recorded in the Grievance Logbook | Complaints Officer | Immediate upon receipt |
| Classification | Complaint categorized by urgency/type (e.g., safety, environmental, health) | Complaints Officer | Within 1–2 days |
| Investigation | Inquiry into the issue through field visits, staff interviews, or observation | Complaints Officer / Environmental Health Officer | Within 7–10 days |
| Resolution | Corrective actions taken; case resolved, or mitigation initiated | Health Center Management | Up to 14 days |
| Feedback to Complainant | Outcome shared with complainant while ensuring confidentiality | Complaints Officer | Within 15 days |
| Escalation | Unresolved cases referred to Regional Health Directorate | Health Center Focal Person | As needed |
| Documentation | All actions and outcomes recorded for monitoring and learning | Complaints Officer / Monitoring Team | Ongoing |
| Review & Improvement | Regular review of complaints to identify trends and improve systems | Health Center Management / CHC | Monthly/ Quarterly |

# Conclusion

Yerobawol Health Centre having a robust healthcare waste management plan is crucial for public health and environmental protection, requiring comprehensive strategies, training, and ongoing monitoring. Recommendations include strengthening waste segregation, implementing safe treatment methods, and promoting awareness among healthcare workers and other stakeholders during the implementation of the project and beyond.

## References

- Ministry of Health and Social Welfare. Healthcare Waste  Management  Policy, 2015.

- Ministry of Health and Social Welfare. The Gambia - National Health Care Waste Management Standard Operating Procedure.

- The Gambia National Health Care Waste Management Plan

- Safe management of wastes from health-care activities: a summary. Geneva: World Health Organization; 2017

## Annex 1: Minutes of the HCWMP Consultation at Yerobawol Health Centre

As part of the stakeholder consultation, the consultant undertook a community engagement/consultation with the host community and some of the key staff of the health center. The consultation took place on the 9th March 2025 to discuss the environmental and social impact of proposed project activities including the issue of healthcare waste management. The consultation was held at the health Center. Seventeen people (5 female & 12 male) participated in the focus group discuss including the deputy “Alkalo” of the village, director of planning at the Basse Area Council, women leader and the office-in-charge of the health center. The concerns and issues raised during the consultation are highlighted below.

## Generation

At the time of the engagement with the different stakeholders in Yerobawol with regard to waste management within this facility.

The respondent classified the waste generated at the facility into two main components, which are hazardous and non-hazardous waste. They are also further grouped into degradable and non-biodegradable waste.

They also identified the main sources of waste generated within the facility, which are from the used clinical materials. Most of the organic waste is collected from the open environment, which was there as a result of waste thrown by people coming in and out of the facility as well as the droppings of the leaves from the plants within the facility.

The most common clinical waste materials generated at the Yerobawol health facility are as follows:

- Used syringes and needles: these are materials commonly generated at the facility, most especially during immunization campaigns, injections, and minor medical procedures. These materials are sharp waste materials, and if not properly taken care of can pose a threat to the human in terms of injury and infection.

- Used bandages and dressings: these are very common types of clinical waste materials generated from the facility, and they are infectious waste. The mismanagement of these types of clinical waste materials can pose serious health implications for the healthcare workers that are directly dealing with these wastes from generation to disposal.

- Expired medications These types of waste are a threat to the open environment and to both flora and fauna around the facility, as they contain some chemicals in the drugs that, when exposed to the soil, can contaminate and pollute the soil, which will affect their horticultural practices within the facility. They are mostly obtained from pharmaceutical waste.

- Contaminated gloves and cotton wool: these are the waste from the surgical and labor wards, as well as other wards within the facility. Placental waste from the maternal care services is also common waste generated at the facility.

## Temporal storage

The respondent highlights that there are waste temporal storage points established within the facility. These established temporal storage points are a distance away from the domain of the human dwelling area as well as the staff quarters. The waste materials collected from the different wards are kept in a safe box and disposed of in the color-coded bins. These temporal storage points are only applicable to the non-biodegradable waste component. The biodegradable waste is mostly packed at one corner of the facility, and they set fire to it for open combustion.

These practices pollute the air within the facility and its surroundings, as some of the respondents claim that during the burning of the waste, the smoke from the fire is distributed by the wind, and in some instances, it reaches them.

## Collection

The waste is collected by the healthcare workers from the bins. They said that they are always in protective gear when carrying out such operations to prevent direct skin contamination with the waste material. The constraints they face as per the collection of the waste material are the inadequate supply of gloves and other protective materials.

## Transportation

The transportation of these waste materials from the collection point to the disposal point involved the use of wheelbarrows by the healthcare workers. These waste materials are always put in a plastic container or the bins. The materials are not usually exposed to the open environment. This means that they are safely transported to the disposal sites.

## Disposal

The disposal method of the facility is through the use of the incinerator and open burning. The waste categories that the incinerator has been used for are clinical waste and other inorganic forms of waste generated within the facility. The rest of the waste that is collected from the open environment is usually taken to the temporal combustion center.

They are mostly accumulated on a daily basis and burned openly. The health care workers are usually there to monitor the burning till it is completed.

Attendance List for MoH Assignment Yerobawol

| Name | Designation | Gender | Contact |
| --- | --- | --- | --- |
| Bakary Badgie | PHO | Male | 3395662 |
| Lamin J. Drammeh | Lab Technician | Male | 7307585 |
| Banu Drammeh | Driver | Male | 2110647 |
| Hagie Darboe | ADWAC | Male | 5179982 |
| Hawa Fatty | NO/OIC | Female | 3711593 |
| Kally Bah | Deputy alkalo Yerobawol | Male | 3180405 |
| Jammeh Bah | Community member | Male | 3073312 |
| Basirou Bah | Facility security | Male | 3783606 |
| Mamadou Bah | Community member | Male | 3562551 |
| Fatoumata Mballow | Community member | Female |  |
| Jariatou Kebbeh | Community member | Female | 3548908 |
| Jariatou Jallow | Women leader | Female | 2908443 |
| Ramata Jawo | Community member | Female | 3240507 |
| Kebba Jatta | RSWO | Male | 7777061 |
| Yaya B Ceesay | Director of planning BSAC | Male | 3512723 |
| Samba Bah | RPNO | Male | 3730160 |
| Mamadou Njie | NEA-URR | Male | 3235280 |

This section was extracted from the recently validated Health Policy 2023